Exhibit B

Scope & Conditions of Approval

Laird Family Estates Winery

Use Permit Application № P08-00564-MOD-Major

5055 Solano Avenue, Assessor’s Parcel № 034-031-031

1.  SCOPE:  This approval shall be limited to allow

- Wine production of no more than 900,000 gallons per year (consistent with the Napa County Winery Production Process);

- Construction of a 34,437 sq. ft. winery building including production, storage, office with an approximately 18,500 sq. ft. covered roof work area surrounding the building;

- Construction of a 3000 sq. ft. recessed loading dock on the east side of the new production building;

- Addition of a 1,038 sq. ft. covered outdoor work area on the east side of the existing barrel storage building;

- Construction of a 3,360 sq. ft. mechanical pad on the westerly side of the existing barrel storage building; and

- Removal of the prior condition of approval regarding alternating proprietor/custom crush clients.

The winery shall be designed in substantial conformance with the submitted site plan, elevation drawings, and other submittal materials and shall comply with all requirements of the Napa County Code. It is the responsibility of the applicant to communicate the requirements of these conditions and mitigations (if any) to all designers, contractors, employees, and guests of the winery to ensure compliance is achieved. Any expansion or changes in use shall be approved in accordance with Section 18.124.130 of the Napa County Code and may be subject to the Use Permit modification process.

2.  GRAPE SOURCE:

At least 75% of the grapes used to make all wine shall be grown within the County of Napa. The permittee shall keep records of annual production documenting the source of grapes to verify that 75% of the production is from Napa County grapes. The report shall recognize the Agriculture Commission’s format for County of origin of grapes and juice used in the Winery Production Process. The report shall be provided to the Conservation, Development, and Planning Department upon request, but shall be considered proprietary information not available to the public.

3. LIGHTING:

All exterior lighting, including landscape lighting, shall be shielded and directed downward, shall be located as low to the ground as possible, shall be the minimum necessary for security, safety, or operations, and shall incorporate the use of motion detection sensors to the greatest extent practical. No flood-lighting or sodium lighting of the building is permitted, including architectural highlighting and spotting. Low-level lighting shall be utilized in parking areas as opposed to elevated high-intensity light standards.

Prior to issuance of any building permit pursuant to this approval, two copies of a detailed lighting plan showing the location and specifications for all lighting fixtures to be installed on the property shall be submitted for Planning Division review and approval. All lighting shall comply with the California Building Code. No lighting visible from the floor of the Napa Valley is proposed in this application and none is approved hereby.

4. LANDSCAPING/PARKING:

Two (2) copies of a detailed final landscaping plan, including parking details, shall be submitted for Planning Division review and approval prior to the issuance of building permits and shall be in substantial conformance with the application submittal. The plan shall indicate the names and locations of all plant materials to be used along with the method of maintenance. Plant materials shall be purchased locally when practical. The Agricultural Commissioner’s office (707.253.4357) shall be notified of all impending deliveries of live plants with points of origin outside of Napa County.

The location of employee and visitor parking and truck loading zone areas shall be identified along with proposed circulation and traffic control signage (if any). Landscaping and parking shall be completed prior to occupancy, and shall be permanently maintained in accordance with the landscaping plan.

Evergreen screening shall be installed between the industrial portions of the operation (e.g. tanks, crushing area, parking area, etc.) and off-site residences that can view such areas.

5.  OUTDOOR STORAGE/SCREENING/UTILITIES:

All outdoor storage of winery equipment shall be permanently screened from the view of adjacent properties by a visual barrier consisting of dense landscaping. No item in storage is to exceed the height of the screening.

Water and fuel tanks, and similar structures, shall be screened to the extent practical so as to not be visible from public roads and adjacent parcels and are subject to the review and approval of the Planning Department. New utility lines required for this project that are visible from any designated scenic transportation route (see Chapter 7 of the General Plan and Chapter 18.106 of the Napa County Zoning Ordinance for designated roads) shall be placed underground or in an equivalent manner be made virtually invisible from the subject roadway.

6.  RENTAL/LEASING:

No winery facilities, or portions thereof, including, without limitation, kitchens, barrel storage areas, and warehousing space, shall be rented, leased, or used by entities other than persons producing and/or storing wine at the on-site winery, except as may be specifically authorized in this use permit or pursuant to the Temporary Events Ordinance (N.C.C. Chapter 5.36).

- COMPLIANCE WITH OTHER DEPARTMENTS AND AGENCIES:

The permittee shall comply with all applicable building codes, zoning standards, and requirements of County Departments and Agencies, including but not limited to:

- Department of Environmental Management as stated in their memo of August 27, 2007;

- Department of Public Works as stated in their memo of February 19, 2008;

- County Fire Department as stated in their memo of September 25, 2007 and

- Building Division as stated in their printed comments of August 16, 2007.

The determination as to whether or not the permittee has substantially complied with the requirements of other County Departments and Agencies shall be determined by those Departments or Agencies.  The inability to substantially comply with the requirements of other County Departments and Agencies may result in the need to modify the approved use permit.

- GRADING AND SPOILS:

All grading and spoils generated by construction of the project facilities, including any cave spoils, shall be disposed of per Public Works direction. All spoils piles shall be removed prior to occupancy.

- WELLS:

The permittee may be required (at the permittee’s expense) to provide well monitoring data if the Director of Environmental Management determines that water usage at the winery is affecting, or would potentially affect, groundwater supplies or nearby wells.  Data requested could include, but would not necessarily be limited to, water extraction volumes and static well levels. If the applicant is unable to secure monitoring access to neighboring wells, onsite monitoring wells may need to be established to gauge potential impacts on the groundwater resource utilized for the project proposed. Water usage shall be minimized by use of best available control technology and best water management conservation practices.

In the event that changed circumstances or significant new information provide substantial evidence that the groundwater system referenced in the use permit would significantly affect the groundwater basin, the Director of Environmental Management shall be authorized to recommend additional reasonable conditions on the permittee, or revocation of this permit, as necessary to meet the requirements of the Napa County Groundwater Ordinance and protect public heath, safety, and welfare. That recommendation shall not become final unless and until the Director has provided notice and the opportunity for hearing in compliance with the County Code §13.15.070 (G-K).

- NOISE:

Construction noise shall be minimized to the maximum extent practical and allowable under State and local safety laws. Construction equipment mufflering and hours of operation shall be in compliance with County Code Chapter 8.16. Equipment shall be shut down when not in use. Construction equipment shall normally be staged, loaded, and unloaded on the project site.

Exterior winery equipment shall be enclosed or muffled and maintained so as not to create a noise disturbance in accordance with the Code.

There shall be no amplified sound system or amplified music utilized outside of approved, enclosed, winery buildings.

- COLORS:

The colors used for the roof, exterior walls and built landscaping features of the winery shall be in substantial compliance with submitted plans and specifications and shall be limited to earth tones that will blend the facility into the colors of the surrounding site specific vegetation. The applicant shall obtain the written approval of the Planning Division prior to painting the building. Highly reflective surfaces are prohibited.

- DUST CONTROL:

Water and/or dust palliatives shall be applied in sufficient quantities during grading and other ground disturbing activities on-site to minimize the amount of dust produced.  Outdoor construction activities shall not occur during windy periods.

- ARCHEOLOGICAL FINDING:

In the event that archeological artifacts or human remains are discovered during construction, work shall cease in a 50-foot radius surrounding the area of discovery. The permittee shall contact the Conservation, Development, and Planning Department for further guidance, which will likely include the requirement for the permittee to hire a qualified professional to analyze the artifacts encountered and to determine if additional measures are required.  If human remains are encountered during the development, all work in the vicinity must be, by law, halted, and the Napa County Coroner informed, so that he can determine if an investigation of the cause of death is required, and if the remains are of Native American origin. If the remains are of Native American origin, the nearest tribal relatives as determined by the State Native American Heritage Commission would be contacted to obtain recommendations for treating or removal of such remains, including grave goods, with appropriate dignity, as required under Public Resources Code Section 5097.98.

- TRAFFIC:

Reoccurring and scheduled vehicle trips to and from the site for employees, deliveries, and visitors will not occur during peak (4 pm to 6 pm) travel times to the maximum extent possible.  All road improvements on private property shall be maintained in good working condition subject to the review and approval of the Department of Public Works.

- ADDRESSING:

All project site addresses shall be determined by the Conservation, Development, and Planning Director, and be reviewed and approved by the United States Post Office, prior to issuance of any building permit. The Conservation, Development, and Planning Director reserves the right to issue or re-issue an appropriate situs address at the time of issuance of any building permit to ensure proper identification and sequencing of numbers.

For multi-tenant or multiple structure projects, this includes building permits for later building modifications or tenant improvements.

- TEMPORARY EVENTS:

The permittee shall fully comply with the requirements of the Napa County Temporary Events Ordinance (N.C.C. Chapter 5.36). No charitable or other event which would otherwise be subject to the requirements of the Napa County Temporary Events Ordinance shall be deemed to be a marketing activity simply because attendance at the event is by invitation only.

- STORM WATER CONTROL:

The permittee shall file a Notice of Intent with the California Regional Water Quality Control Board (SRWQCB) prior to any grading or construction activity and shall submit a Stormwater Pollution Prevention Plan for the review and approval of the Department of Public Works prior to the issuance of a building, grading, or any other development permit.

All hazardous materials stored and used on-site that could cause water pollution (e.g. motor oil, cleaning chemicals, paints, etc.) shall be stored and used in a manner that will not cause pollution, with secondary containment provided. Such storage areas shall be regularly cleaned to remove litter and debris. Any spills shall be promptly cleaned up and appropriate authorities notified. Parking lots shall be designed to drain through grassy swales, buffer strips, or sand filters prior to any discharge from the impervious surface into a watercourse. If any discharge of concentrated surface waters is proposed in the any “Waters of the State,” the permittee shall consult with and secure any necessary permits from the State Regional Water Quality Control Board. All trash enclosures must be covered and protected from rain, roof, and surface drainage.

- INDEMNIFICATION:

An indemnification agreement was signed and submitted with initial application materials.

- AFFORDABLE HOUSING MITIGATION:

Prior to County issuance of a building permit, the applicant shall pay the Napa County Affordable Housing Mitigation Fee in accordance with the requirements of County Code Chapter 15.60 or as may be amended by the Board of Supervisors.

- PREVIOUS CONDITIONS:

The permittee shall comply with all previous conditions of approval for the Use

Permit (#97526-UP thought #02193-UP), except as modified by this action.  To the

extent there is a conflict between previous conditions of approval and these

conditions of approval, these conditions shall control and supersede earlier ones.

- MONITORING COSTS:

All staff costs associated with monitoring compliance with these conditions, previous permit conditions, and project revisions shall be borne by the permittee and/or property owner. Costs associated with conditions and mitigation measures that require monitoring, including investigation of complaints, other than those costs related to investigation of complaints of non-compliance that are determined to be unfounded, shall be charged. Costs shall be as established by resolution of the Board of Supervisors in accordance with the hourly consulting rate established at the time of the monitoring. Violations of conditions of approval or mitigation measures caused by the permittee’s contractors, employees, and/or guests are the responsibility of the permittee.

The Planning Commission may implement an audit program if compliance deficiencies are noted. If evidence of compliance deficiencies is found to exist by the Commission at some time in the future, the Commission may institute the program at the applicant’s expense (including requiring a deposit of funds in an amount determined by the Commission) as needed until compliance assurance is achieved. The Planning Commission may also use the data, if so warranted, to commence revocation hearings in accordance with §18.124.120 of the Napa County Code.

- TEMPORARY AND FINAL OCCUPANCY:

All project improvements, including compliance with applicable codes, conditions, and requirements of all departments and agencies with jurisdiction over the project, shall be completed prior to granting of a Certificate of Final Occupancy by the County Building Official, which, upon granting, authorizes all use permit activities to commence. The County Building Official is authorized to grant a Temporary Certificate of Occupancy to allow specified limited use of the project, such as commencement of production activities, prior to completion of all project improvements. Marketing and/or Tours and Tastings are not typically authorized until grant of Final Occupancy, but exceptions where extenuating circumstances exist and are subject to review and approval by the County Building Official, County Fire Marshal, and the Director of Conservation, Development, and Planning. In special circumstances, departments and/or agencies with jurisdiction over the project are authorized as part of the Temporary Certificate of Occupancy process to require a security deposit or other financial instrument to guarantee completion of unfinished improvements.