Exhibit B

Conditions of Approval

Lake Ridge Winery

Use Permit Application № P09-00039 UP

90 Long Ranch Road, Assessor’s Parcel № 020-350-026

Approval of a Use Permit request #P09-00039-UP to allow the following:

1.  SCOPE:  This Use Permit approval shall be limited to the following:

- Wine production of no more than 10,000 gallons per year (consistent with the Napa County Winery Production Process);

- Construction of a new 2-story 6,800 square foot (sf) winery structure to including the following: 200sf tasting/sales office, 260sf conference room, 235sf office, 595sf reception area, 110sf kitchen, 75sf restroom, 1,965sf indoor crush pad, 3,270sf fermentation area with office and laboratory, 1,900sf outdoor pad; 1,545sf roof covered terrace; 890sf “catwalk”, 3,000sf loading and parking area, 2,300sf open walkway, 11,000sf driveway and mobile bottling;

- Construction of  6,700 square foot of caves for case and barrel storage including 500 square foot wine library;

- One full-time, one part-time and 5 seasonal employees;

- Construction of 6 parking spaces, including one ADA-accessible space;

- Modify the existing driveway and entrance on Long Ranch Road to 18 foot wide with 2 foot shoulders; and

- Installation of the new domestic and winery waste water system including 3 tanks totaling 30,000 gallons;

- Hours of operation for the winery shall be limited to 10 AM to 5 PM, Monday through Saturday.

The winery shall be designed in substantial conformance with the submitted site plan, elevation drawings, and other submittal materials and shall comply with all requirements of the Napa County Code. It is the responsibility of the applicant to communicate the requirements of these conditions and mitigations (if any) to all designers, contractors, employees, and guests of the winery to ensure compliance is achieved. Any expansion or changes in use shall be approved in accordance with Section 18.124.130 of the Napa County Code and may be subject to the Use Permit modification process.

2. No Marketing events.

3. TOURS AND TASTING: This approval shall be limited to:

- Tours and tastings by appointment only with a maximum of 10 visitors per day and a maximum of 60 visitors per week.

"Tours and tastings" means tours of the winery and/or tastings of wine, where such tours and tastings are limited to members of the wine trade, persons invited by a winery who have pre-established business or personal relationships with the winery or its owners, and persons who have made unsolicited prior appointments for tours or tastings. (Ord. 947 § 9 (part), 1990: prior code § 12070).  Start and finish time of tours and tastings shall be scheduled to minimize vehicles arriving or leaving between 4:00 PM and 6:00 PM,  and shall be limited to those wines set forth in Napa County Code Sec. 18.16.030(G)(5)(c).

A log book (or similar record) shall be maintained which documents the number of visitors to the winery, and the dates of their visit. This record of visitors shall be made available to the Planning Department upon request.

4. GRAPE SOURCE:

At least 75% of the grapes used to make all wine shall be grown within the County of Napa. The permittee shall keep records of annual production documenting the source of grapes to verify that 75% of the production is from Napa County grapes. The report shall recognize the Agriculture Commission’s format for County of origin of grapes and juice used in the Winery Production Process. The report shall be provided to the Conservation, Development, and Planning Department upon request, but shall be considered proprietary information not available to the public.

5.   SIGNS:

No winery signage is approved at this time.  Prior to installation of any winery identification or directional signs, detailed plans, including elevations, materials, color, and lighting, shall be submitted to the Planning Department for administrative review and approval. All signs shall meet the design standards as set forth on Chapter 18.116 of the County Code.

6.   GATES/ENTRY STRUCTURES:

Prior to the issuance of a building and/or grading permit for the construction of the approved winery, the existing access on Long Ranch Road shall be modified.  The existing road or driveway gate at the property entrance or elsewhere on the property pursuant to this approval shall be modified and reviewed by the Conservation, Development and Planning Department, Public Works Department, and the Napa County Fire Department to assure that it is designed to allow large vehicles, such as motorhomes, to turn around if the gate is closed without backing into the public roadway, and that fire suppression access is available at all times. If the gate is part of an entry structure, an additional permit shall be necessary as required by the County Code.

- LIGHTING:

All exterior lighting, including landscape lighting, shall be shielded and directed downward, shall be located as low to the ground as possible, shall be the minimum necessary for security, safety, or operations, and shall incorporate the use of motion detection sensors to the greatest extent practical. No flood-lighting or sodium lighting of the building is permitted, including architectural highlighting and spotting. Low-level lighting shall be utilized in parking areas as opposed to elevated high-intensity light standards.

Prior to issuance of any building permit pursuant to this approval, two copies of a detailed lighting plan showing the location and specifications for all lighting fixtures to be installed on the property shall be submitted for Planning Division review and approval. All lighting shall comply with the California Building Code. No lighting visible from the floor of the Napa Valley is proposed in this application and none is approved hereby.

- LANDSCAPING/PARKING:

Two (2) copies of a detailed final landscaping plan, including parking details, shall be submitted for Planning Division review and approval prior to the issuance of building permits and shall be in substantial conformance with the application submittal. The plantings shall include replacements in kind of the oak woodland species being removed. The plan shall indicate the names and locations of all plant materials to be used along with the method of maintenance.  Plant materials shall be purchased locally when practical. The Agricultural Commissioner’s office (707.253.4357) shall be notified of all impending deliveries of live plants with points of origin outside of Napa County.

The location of employee and visitor parking and truck loading zone areas shall be identified along with proposed circulation and traffic control/information signage.  Landscaping and parking shall be completed prior to occupancy, and shall be permanently maintained in accordance with the landscaping plan.

Evergreen screening shall be installed between the industrial portions of the operation (e.g. tanks, crushing area, parking area, etc.) and off-site residences that can view such areas.

No trees greater than 6” DBH shall be removed, except for those identified on the submitted site plan. Before the start of any clearing, excavation, construction, or other work on the site, every tree greater than 6” DBH in the vicinity of the project area which is not marked for removal on the submitted site plan shall be securely fenced-off at the dripline. Such fences shall remain continuously in place for the duration of the work undertaken in connection with the winery development. In no case shall construction materials or debris be stored within the fenced tree protection area.

Parking shall be limited to approved parking spaces only. Parking shall not occur in other locations except during harvest/crush. In no case shall parking impede emergency vehicle access, public roads, or any private road providing access to other properties.

- OUTDOOR STORAGE/SCREENING/UTILITIES:

All outdoor storage of winery equipment shall be permanently screened from the view of adjacent properties by a visual barrier consisting of dense landscaping. No item in storage is to exceed the height of the screening.

Water and fuel tanks, and similar structures, shall be screened to the extent practical so as to not be visible from public roads and adjacent parcels and are subject to the review and approval of the Planning Department. New utility lines required for this project that are visible from any designated scenic transportation route (see Chapter 7 of the General Plan and Chapter 18.106 of the Napa County Zoning Ordinance for designated roads) shall be placed underground or in an equivalent manner be made virtually invisible from the subject roadway.

- RENTAL/LEASING:

No winery facilities, or portions thereof, including, without limitation, kitchens, barrel storage areas, and warehousing space, shall be rented, leased, or used by entities other than persons producing and/or storing wine at the on-site winery, except as may be specifically authorized in this use permit or pursuant to the Temporary Events Ordinance (N.C.C. Chapter 5.36).

- COMPLIANCE WITH OTHER DEPARTMENTS AND AGENCIES:

The permittee shall comply with all applicable building codes, zoning standards, and requirements of County Departments and Agencies, including but not limited to:

- Department of Environmental Management as stated in their memo of June 15, 2009;

- Department of Public Works as stated in their memos of April 9 & June 30, 2009;

- County Fire Department as stated in their revised memo of May 29, 2009, and

- Building Division as stated in their memo of July 12, 2009.

The determination as to whether or not the permittee has substantially complied with the requirements of other County Departments and Agencies shall be determined by those Departments or Agencies.  The inability to substantially comply with the requirements of other County Departments and Agencies may result in the need to modify the approved use permit.

- GRADING AND SPOILS:

All grading and spoils generated by construction of the project facilities, including any cave spoils, shall be disposed of per Public Works direction. All spoils piles shall be removed prior to occupancy.

- WELLS:

The permittee may be required (at the permittee’s expense) to provide well monitoring data if the Director of Environmental Management determines that water usage at the winery is affecting, or would potentially affect, groundwater supplies or nearby wells.  Data requested could include, but would not necessarily be limited to, water extraction volumes and static well levels. If the applicant is unable to secure monitoring access to neighboring wells, onsite monitoring wells may need to be established to gauge potential impacts on the groundwater resource utilized for the project proposed. Water usage shall be minimized by use of best available control technology and best water management conservation practices.

In the event that changed circumstances or significant new information provide substantial evidence that the groundwater system referenced in the use permit would significantly affect the groundwater basin, the Director of Environmental Management shall be authorized to recommend additional reasonable conditions on the permittee, or revocation of this permit, as necessary to meet the requirements of the Napa County Groundwater Ordinance and protect public heath, safety, and welfare. That recommendation shall not become final unless and until the Director has provided notice and the opportunity for hearing in compliance with the County Code §13.15.070 (G-K).

- NOISE:

Construction noise shall be minimized to the maximum extent practical and allowable under State and local safety laws. Construction equipment mufflering and hours of operation shall be in compliance with County Code Chapter 8.16. Equipment shall be shut down when not in use. Construction equipment shall normally be staged, loaded, and unloaded on the project site.

Exterior winery equipment shall be enclosed or muffled and maintained so as not to create a noise disturbance in accordance with the Code.

There shall be no amplified sound system or amplified music utilized outside of approved, enclosed, winery buildings.

- COLORS:

The colors used for the roof, exterior walls and built landscaping features of the winery shall be in substantial compliance with submitted plans and specifications and shall be limited to earth tones that will blend the facility into the colors of the surrounding site specific vegetation. The applicant shall obtain the written approval of the Planning Division prior to painting the building. Highly reflective surfaces are prohibited.

- DUST CONTROL:

Water and/or dust palliatives shall be applied in sufficient quantities during grading and other ground disturbing activities on-site to minimize the amount of dust produced.  Outdoor construction activities shall not occur during windy periods.

- ARCHEOLOGICAL FINDING:

In the event that archeological artifacts or human remains are discovered during construction, work shall cease in a 50-foot radius surrounding the area of discovery. The permittee shall contact the Conservation, Development, and Planning Department for further guidance, which will likely include the requirement for the permittee to hire a qualified professional to analyze the artifacts encountered and to determine if additional measures are required.  If human remains are encountered during the development, all work in the vicinity must be, by law, halted, and the Napa County Coroner informed, so that he can determine if an investigation of the cause of death is required, and if the remains are of Native American origin. If the remains are of Native American origin, the nearest tribal relatives as determined by the State Native American Heritage Commission would be contacted to obtain recommendations for treating or removal of such remains, including grave goods, with appropriate dignity, as required under Public Resources Code Section 5097.98.

- TRAFFIC:

Reoccurring and scheduled vehicle trips to and from the site for employees, deliveries, and visitors will not occur during peak (4 pm to 6 pm) travel times to the maximum extent possible.  All road improvements on private property shall be maintained in good working condition subject to the review and approval of the Department of Public Works.

- ADDRESSING:

All project site addresses shall be determined by the Conservation, Development, and Planning Director, and be reviewed and approved by the United States Post Office, prior to issuance of any building permit. The Conservation, Development, and Planning Director reserves the right to issue or re-issue an appropriate situs address at the time of issuance of any building permit to ensure proper identification and sequencing of numbers.

- TEMPORARY EVENTS:

The permittee shall fully comply with the requirements of the Napa County Temporary Events Ordinance (N.C.C. Chapter 5.36). No charitable or other event which would otherwise be subject to the requirements of the Napa County Temporary Events Ordinance shall be deemed to be a marketing activity simply because attendance at the event is by invitation only.

- STORM WATER CONTROL:

The permittee shall file a Notice of Intent with the California Regional Water Quality Control Board (SRWQCB) prior to any grading or construction activity and shall submit a Stormwater Pollution Prevention Plan for the review and approval of the Department of Public Works prior to the issuance of a building, grading, or any other development permit.

All hazardous materials stored and used on-site that could cause water pollution (e.g. motor oil, cleaning chemicals, paints, etc.) shall be stored and used in a manner that will not cause pollution, with secondary containment provided. Such storage areas shall be regularly cleaned to remove litter and debris. Any spills shall be promptly cleaned up and appropriate authorities notified. Parking lots shall be designed to drain through grassy swales, buffer strips, or sand filters prior to any discharge from the impervious surface into a watercourse. If any discharge of concentrated surface waters is proposed in the any “Waters of the State,” the permittee shall consult with and secure any necessary permits from the State Regional Water Quality Control Board. All trash enclosures must be covered and protected from rain, roof, and surface drainage.

- INDEMNIFICATION:

An indemnification agreement was signed and submitted with initial application materials.

- AFFORDABLE HOUSING MITIGATION:

Prior to County issuance of a building permit, the applicant shall pay the Napa County Affordable Housing Mitigation Fee in accordance with the requirements of County Code Chapter 15.60 or as may be amended by the Board of Supervisors.

- MONITORING COSTS:

All staff costs associated with monitoring compliance with these conditions, previous permit conditions, and project revisions shall be borne by the permittee and/or property owner.  Costs associated with conditions and mitigation measures that require monitoring, including investigation of complaints, other than those costs related to investigation of complaints of non-compliance that are determined to be unfounded, shall be charged. Costs shall be as established by resolution of the Board of Supervisors in accordance with the hourly consulting rate established at the time of the monitoring. Violations of conditions of approval or mitigation measures caused by the permittee’s contractors, employees, and/or guests are the responsibility of the permittee.

The Planning Commission may implement an audit program if compliance deficiencies are noted. If evidence of compliance deficiencies is found to exist by the Commission at some time in the future, the Commission may institute the program at the applicant’s expense (including requiring a deposit of funds in an amount determined by the Commission) as needed until compliance assurance is achieved. The Planning Commission may also use the data, if so warranted, to commence revocation hearings in accordance with §18.124.120 of the Napa County Code.

- TEMPORARY AND FINAL OCCUPANCY:

All project improvements, including compliance with applicable codes, conditions, and requirements of all departments and agencies with jurisdiction over the project, shall be completed prior to granting of a Certificate of Final Occupancy by the County Building Official, which, upon granting, authorizes all use permit activities to commence. The County Building Official is authorized to grant a Temporary Certificate of Occupancy to allow specified limited use of the project, such as commencement of production activities, prior to completion of all project improvements. Marketing and/or Tours and Tastings are not typically authorized until grant of Final Occupancy, but exceptions where extenuating circumstances exist and are subject to review and approval by the County Building Official, County Fire Marshal, and the Director of Conservation, Development, and Planning. In special circumstances, departments and/or agencies with jurisdiction over the project are authorized as part of the Temporary Certificate of Occupancy process to require a security deposit or other financial instrument to guarantee completion of unfinished improvements.