Agency Manager:

The report indicates that CFL would be impacted financially by the reduction of waste going to the landfill, requiring the allowance for bringing in additional MSW from out of county to make up the difference. This doesn’t appear to be true since the mixed C&D is identified after the full landfill price has already been paid for at the gate. Thus, diversion of the C&D from the landfill results in more space in the hole, but not a decrease in revenue.

The cost sharing between CFL and UVDS is proposed to be 25% for CFL and 75% for UVDS based on the waste volumes that are currently received at the site (25% of all waste is self hauled to CFL and the rest is trucked in by UVDS). However, a good deal of the tonnage received from UVDS is curbside MSW, which is not part of the C&D waste stream.  It would seem more appropriate to compare the percentages of UVDS roll-offs and CFL self haul, with MSW from curbside pick-ups eliminated from the equation.

Please state clearly how CFL will pay for their share (whatever that percentage turns out to be) of the costs. Will CFL ultimately request a gate fee change to address this, or do you agree that the costs are already imbedded in the current gate rate (which will be adjusted essentially by CPI under the current formula)?

The C&D facility will use additional water for dust control and other processing.  Does CFL have the water capacity on site to support this, or will water trucking be required?  If so, traffic and cost factors for this need to be considered.

Is this money more efficiently better spent on a range of smaller programs such as incentives and equipment for increased commercial recycling, increased incentives to force more presorted C&D loads, and other similar lower cost programs?

Auditor/Controller’s Comments:

The Auditor-Controller's initial take on the OR is that the costs of the initial set up and on-going operations should be passed through (Recoverable Only), thus no OR should be earned.  Also, does anyone see any impact to the current methodology for this operation that might require clarification to prevent future misunderstandings on the treatment of the costs passed to UVDS rate payers?

Upper Valley Recycling (UVR) is a related company with the same ownership as UVDS. If the costs (charges) passed from UVR to UVDS are allowed profit (OR), then the owners receive profit twice off the same service.  Disallowing the second profit to UVDS would be a philosophy similar to the philosophy applied to the charges for Landfill Fees from Clover Flat Landfill (CFL).

Methodology (Initial Start Up) - In accordance with the methodology, the amount already accumulated, $901,886, would go into a trust until costs are incurred.  The company would request draw down on the third party trust in accordance with the existing methodology.  I do not foresee any changes needed for this process.

Methodology (On going expenses) - Questions arise in my mind on how the on going costs (charges) should be handled.  It is recommended that written clarification, whether through the methodology or some other legal and binding document, be drafted to address the following questions if they are not already clearly addressed in the existing methodology:

Should UVDS receive an Operating Ratio on the costs, charges, from UVR?

Should the charges be included with the Landfill costs and subject to the cap?

Amy Garden Comments:

p. 2-2   CIWMB’s 59% diversion rated is calculated through the adjustment methodology (which compares current disposal with reported 1990 base year generation and disposal).  It is not actual identified diversion occurring in UVA service area. According to UVDS/UVR/CFL monthly reports UVDS/UVR 2006 diversion was 56% and CFL diversion was 54% (including batteries, tires, electronics).

It is assumed that UVA could increase its diversion by identifying other existing diversion as the County and City of Napa have done in the past (e.g. grasscycling, business recycling, grocery store recycling, on-site composting, etc.)

p 2-3   Using the CIWMB estimates of C&D percent of the waste stream currently being disposed (22%) this equals 9,138 tons for CFL in 2006 (22% of 41,535 tons)

p 3-5  States source separated programs would continue at CFL.  How would these materials be handled and marketed relative to the same materials that are recovered from the mixed C&D program?

p 3-6 (general) Of UVDS total roll-off business, how much is currently source separated materials proposed (wood waste, green waste, scrap metals, concrete, asphalt, cardboard)? How much could this existing service increase with promotion and more substantial financial incentives (discounts) instead of developing the mixed C&D program?  (see p 4-1 “When contractors source separate and store, recycle and reuse C&D materials on site, this represents one of the most efficient methods of recycling..”).

p 3-8  The amount of mixed C&D materials currently being exported out of the County is discussed several times in the proposal.

p 3-8 estimates 20 tons per day (using 260 weekdays annually that would be 5,200 tons)

p 6-2 says 4 debris boxes per weekday (“due to the lack of recycling facilities in the immediate area”) = 1,040 boxes annually

p 10-2  indicates 20 TPD or a few thousand tons per year

p 10-6 mixed C&D leaving the county in the name of recycling is approximately 2,000 tons

How was this estimated?

Is the assumption that previously this material was staying in the County and going to CFL? Do historic CFL disposal numbers support this assumption?

Also see comment p 7-10 regarding increased enforcement of the franchise as another way of preventing “mixed loads leaving the County in the name of recycling.”

p 3-10 Table 3.10  - CFL 2006 source separated numbers do not agree with CFL monthly reports. Monthly reports indicate:

Green/Wood waste – 767 tons

Asphalt/dirt/Concrete – 10,011 tons

Metals (white metals) – 257 tons

Total 11,450

Oil, batteries, tires, electronics = 578 tons

All other recyclable materials collected at CFL drop off/buyback (~ 833) are included in UVR recycling totals. This table is also found on p.6-2

p 5-2  “BVA study analyzed three options for development of a mixed C&D processing facility at DRTS. The first option was a low-cost, low-tech approach using floor sorting, a tub grinder and trans-loading of a portion of the materials……..[this option] could be built initially to let the Agency get a better understanding of the materials flow into the facility, both in quantity and composition. Then after gaining experience with the waste stream, the Agency could develop either Option 2 or 3 discussed below.”   This option is described in further detail on pages 3-7 and 3-8 of the BVA study (Appendix A). Was there any analysis done on this option? Do CFL management and staff have suggestions regarding this type of alternative?

p 5-6 It is important to note that the lack of success (2nd paragraph) with NVWMA’s (Allied Waste’s) attempt at the floor sort option was heavily influenced by the fact that there was NO financial incentive to be successful.  Would it be possible to discuss some financial incentives for CFL operations to increase their diversion as an option?

p 7-16 Dry wall goes to Napa composting instead of UVDS?

p 9-7  Are there particular jurisdictions from which UVDS anticipates importing processed MSW?  These locations could become important in evaluating traffic impacts.

p 10-4 If 80% of Processed materials are hauled off site what is the anticipated traffic impact? How will a substantial increase in transportation costs affect the economic considerations? If you use the high end of the estimates $25 /ton, would the program still be feasible? (estimated range on p. 10-4 is $10-$ 25/ton)

General

- If 65% of the material is expected to be recovered from UVDS drop boxes, are there other options for increased source separation and or just concentrating on this and not the self-haul loads for now?

- There is no mention of reuse of any C&D materials (except mattresses and furniture in Phase 2). What does the data regarding the amount of reusable materials in the C&D waste stream (doors, windows, dimensional lumber, etc) indicate?

- Should the costs just be divided between the roll-off and self haul loads instead of including UVDS curbside customers? (Steve mentioned this earlier)

- Based on current growth trends and zoning requirements I don’t think much population growth is expected in the Up Valley so we probably shouldn’t rely on growth for lots of extra tonnage.

HDR/BVA Comments:

HDR/BVA has performed a preliminary review of the Edgar & Associates report exploring the feasibility of processing C&D materials at the Clover Flats landfill (CFL).

This memorandum is limited in scope and is intended to identify big picture issues and does not address in detail a review of site layout, equipment selection, capital and operating costs, permitting requirements, schedule, projected tonnage, recovery rate, financing approach etc.

As a result of our review we have the following comments:

- References to dates throughout the report should reflect proper time period. For example in section 2-2 paragraph entitled “UVWMA at 59% Diversion Rate” references 2005 as occurring in the future.

- For purposes of this analysis we believe assuming 75% recovery rate for both roll offs and self-haul is a bit aggressive. There are C&D facilities achieving 75 % or better recovery on roll offs but the performance relates to the targeted feedstock from construction activities as well as the level of sophistication of the equipment, number sorters and throughput rate. HDR/BVA used a more conservative figure of approximately 60% recovery in the Napa-Vallejo Waste Management Authority feasibility study with a similar layout. Self-haul from businesses and residents is much less predictable than roll offs and therefore, we believe for purposes of this analysis the study should assume a lower recovery rate than roll offs.  We recommend assuming 60% recovery for C&D and 50% recovery for roll offs. Reducing the recovery assumptions produces a slight reduction in projected UVDS rates.

- The study assumes a prorata share of costs for UVDS/CFL to be 75%/25% based on total tonnage received at CFL per table 3.5. This assumption however includes UVDS MSW tonnage, which doesn’t appear reasonable since only, costs for C&D processing would be incurred. We therefore recommend a more reasonable split of 58%/42% based on information in table 3.9. As an example, the total potential C&D tonnage reported in table 3.9 is 14,174 UVDS roll off and 10,263 self-haul for a total of 24,437 tons. On this basis the prorata share for UVDS is 58% not 75%. Reducing the assumption of prorata share for UVDS to 58% produces a modest reduction in projected UVDS rates.

- HDR/BVA agrees with the recommended two-phase approach to C&D processing implementation. However, we recommend UVR assess the need for an enclosed building after gaining operating experience with the open facility.

- We agree with the recommendation to locate the C&D processing facility at CFL.

- The report implies that some existing UVR equipment will be shared with the new C&D facility. It’s not clear however how costs will be allocated for the baler or forklift /roll off truck since costs are not included.

- Ptarmigan is an experienced provider of C&D processing systems and can be expected to perform.

- Due to the limited scope and time constraints, HDR/BVA has no comment on permitting or project schedule or impacts to CFL.

- Due to limited scope and time constraints, HDR/BVA has no comment on the capital and operating costs except for the following:

  - Capital cost contingency of 2% for a study of this type is low, 15% is more reasonable

  - What is rational of $300,000 for 50% of existing wood grinder

  - As discussed earlier no costs for fork lift or roll off truck to move bins on pad are included

  - No costs for site work including drainage

  - No costs for engineering, permitting, financing and other soft costs.

  - Please confirm hourly labor costs as they appear low

  - Did not see costs for rolling stock, baler or wood grinder operators

  - What about costs of moving residue from pad to landfill face?

- The five-year projection shows an operating ratio (OR) of 88.5% applied to allowable expenses.

- No impact on UVDS rates as a result of implementation of the C&D facility was presented in the study. Using a UVDS rate model provided by Karen, HDR/BVA estimated the rate increase to UVDS under the scenario put forth in the study to be approximately 8% above the proposed residential unit rates under the new approved methodology; an increase from $18.30 to $19.76. The estimated rate  resulting from changing the prorata share and lowering the recovery rates as discussed above is $19.41 or only a 6% increase over proposed rates.

LEA Comments:

Permit Requirements– Report of Facility Information (RFI) Amendment could be the permit option to implement the C/D processing.  An application to the LEA amending the Report of Facility Information Report (specific to Clover Flat Landfill, the facility document is called a Joint Technical Document) and supply any proposed changes and supporting documents as identified in the permit.  Any proposed changes must be consistent with the facility permit, CEQA, CUP, and operating standards as outlined in Title 27, CCR.  Operating standards or State Minimum Standards include dust, noise, litter etc.   Note - there were complaints from neighbors on noise a few years back (something to consider).  If all documents and operations would not be in conflict or cause a significant change, more that likely an amendment would be appropriate.  If not consistent, the proposed change may require a revision of the permit.  But, I can not make that determination until every aspect of a proposal is presented as a final proposal to the LEA.

10-1, Reference to importing waste – recommend checking the CUP, there may have been a condition on importing waste from out of county.  Then again, case law may allow it anyway.

3-8, Reference to 90% diversion of the potential waste stream.  In my limited time to review the document, some of the assumptions used in analyzing the tonnage numbers were difficult to follow.  This assumption to make sure I am not missing something.  Is it telling me that of the MSW that would go to the working face, 90% would then be diverted to C/D?  If correct, the C/D feedstock would include many tons of all types of residential drop-off waste.  Would there be a large percent of the total waste stream that would go to the site face, or a large percent of the C/D waste stream?

6-5, reference to Berryessa Transfer operation.  Not applicable, that operation receives a ton a day.

Phase 2 – no comments, too many variables at this time.  My comments would be too premature.

7-3, discusses operational days of the week etc.  Proposes M-F operation.  Remember Monday is commercial only, with a high percent of UVDS commercial packer trucks.  No self haul contractor material received.

Appendix 3, Need to review this. (Table of CFL Tonnage Information)  I am not sure of the assumptions.  I think I need more clarification.  If I understand the assumptions correctly, 90% of the tons of roll-off and public would go to C/D to avg 83 tons/day.  Not sure exactly what waste stream (s) the 90% will be available from.  I think this would be much lower.  What this would be saying is that all public and roll-off that was going to the working face would now go to C/D operations.    Under the summary (Summary of Results) the assumption is that would still get 75% recovery of the material.  It is possible the available tonnage may be lower than anticipated.