#### ORDINANCE NO. 1266

AN ORDINANCE OF THE BOARD OF SUPERVISORS OF THE COUNTY OF NAPA, STATE OF CALIFORNIA, AMENDING CHAPTER 15.28 (ELECTRICAL CODE) OF THE NAPA COUNTY CODE,  ADOPTING THE UPDATED CALIFORNIA ELECTRICAL CODE, AND AMENDING ADMINISTRATIVE PROVISIONS

The Board of Supervisors of the County of Napa, State of California, ordains as follows:

SECTION 1.		Chapter 15.28 (Electrical Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.28

ELECTRICAL CODE

Sections:

15.28.010	Documents adopted by reference.

15.28.020	[Reserved]

15.28.030	Board of appeals.

15.28.040	Organization and enforcement.

15.28.010	Documents adopted by reference.

For the purpose of establishing proper regulations for building construction and for the installation of electrical systems, the provisions of the 2004 Edition of the California Electrical Code [which is based upon the 2002 Edition of the National Electrical Code published by the National Fire Protection Association adopted with modifications by the State of California as Title 24, Part 3 of the California Code of Regulations] designated for adoption in the California Matrix Adoption Tables by the Local Building Official and Annexes B, C, D, E, and F are adopted and made a part of this code by reference.

15.28.020	[Reserved.]

15.28.030	Board of appeals.

The functions of a board of appeals shall be performed by the unified board of appeals constituted pursuant to 15.04.090 of this code and no separate board of appeals shall be created.

15.28.040	Organization and enforcement.

A.	Organization and powers. The building official is designated as the enforcement official of this code. For purposes of this chapter, the terms “building official” and “electrical inspector” in the Electrical Code shall mean the conservation, development and planning director, assistant conservation, development and planning director, chief building official, field inspection supervisor and building inspector(s), who shall have those powers granted in Chapter 1.24 of the county code.

B.	Right of entry. Whenever necessary to make an inspection to enforce the provisions of this code, or whenever the building official has reasonable cause to believe there exists in a building or upon a premises a condition or code violation which makes such building or premises unsafe, dangerous, or hazardous, the building official may enter such building or premises at all reasonable times to inspect the same or to perform any duty imposed upon the building official by such codes, provided that if such building or premises be occupied, the building official shall first present proper credentials and request entry. If such building or premises is unoccupied, the building official shall first make a reasonable effort to locate the owner or other persons having charge or control of the building or premises and request entry. If entry be refused, the building official shall have recourse to every remedy provided by law to secure entry. When the building official shall have first obtained a proper inspection warrant or other remedy provided by law to secure entry, an owner or occupant or other persons having charge, care or control of the building or premises shall not fail or neglect, after proper request is made as herein provided, to promptly permit entry therein by the building official for the purpose of inspection and examination pursuant to this code.

C.	Authority to disconnect. The electrical inspector is authorized to disconnect and order discontinuance of electric service to any electric wiring, devices, appliances or equipment found to be in violation of this code under any of the following conditions:

1.	Failure of the owner or electrical contractor to secure the required electrical permit;

2.	Hazardous electrical work found to be dangerous to life or properly due to defective wiring, devices, appliances or equipment;

3.	Electrical work connected to service without the approval of the electrical inspector;

4.	Temporary power poles that have been connected for more than six months.

Any order issued pursuant to this section may be made either to the person using and maintaining the condition, or to the person responsible for its use and maintenance, and shall specify the date or time for compliance with its terms.

D.	Authority to condemn electrical system and equipment. Whenever the electrical inspector shall find any electrical equipment to have been unlawfully installed, changed or altered, or to be operated or used in a manner or under conditions contrary to the provisions of this code or of any ordinance, rule or regulation thereto pertaining, or, in the judgment of the electrical inspector, to be unsafe or dangerous to person or property, the electrical inspector shall have the authority and power to condemn such unlawfully installed, changed or altered, or unlawfully operated or used, or defective, unsafe or dangerous electrical equipment and to prohibit the further use thereof until the said unlawful, defective, unsafe or dangerous conditions with respect thereto shall have been remedied; and the inspector is likewise further authorized and empowered thereupon summarily to disconnect any such electrical equipment from its source of current supply and to place a seal thereon, or to order and require the person supplying electrical energy to such equipment to disconnect his supply or service wires and discontinue the supply of electrical energy to such equipment. The electrical inspector may take any or all of the above actions as, in his discretion, he deems to be warranted by the circumstances and conditions of the case.

E.	Connection after order to disconnect. Wherever the electrical inspector shall find any electrical distribution system, or any live supply or service conductor therefrom, to have been connected to any electrical equipment in, on or about any building without authority therefore as required by this code or after issuance of an order to disconnect, the electrical inspector shall be authorized and empowered to cause such system or conductor to be disconnected from such electrical equipment, or to order and require the same to be disconnected by the person owning or operating such distribution system. It shall be unlawful and a public nuisance for such person to fail to comply with such order.

F.	Violations unlawful and a public nuisance. It is unlawful and a public nuisance for any person supplying electrical energy to any electrical equipment to fail, neglect or refuse immediately to disconnect his supply or service wires and discontinue the supply of electrical energy to such electrical equipment when notified and directed so to do under and in accordance with the provisions of this chapter. It shall also be unlawful and a public nuisance for the person owning or in charge or control of any such condemned electrical equipment, to fail to remedy or remove the problem within the period of time fixed by the electrical inspector in his notice to such person directing that the unlawful, defective, unsafe or dangerous conditions thereof or with respect thereto be so remedied or removed.

SECTION 2.		If any section, subsection, sentence, clause, phrase or word of this chapter is for any reason held to be invalid by a court of competent jurisdiction, such decision shall not affect the validity of the remaining portions of this ordinance.  The Board of Supervisors of the County of Napa hereby declares it would have passed and adopted this ordinance and each and all provisions hereof irrespective of the fact that any one or more of said provisions be declared invalid.

SECTION 3.		This ordinance shall be effective thirty (30) days from and after the date of its passage.

SECTION 4.		A summary of this ordinance shall be published at least once 5 days before adoption and at least once before the expiration of 15 days after its passage in the Napa Valley Register, a newspaper of general circulation published in the County of Napa, together with the names of members voting for and against the same.

The foregoing ordinance was introduced and read at a regular meeting of the Board of Supervisors of the County of Napa, State of California, held on the 13th day of September, 2005, and passed at a regular meeting of the Board of Supervisors of the County of Napa, State of California, held on the 20th day of  September, 2005, by the following vote:

AYES:		SUPERVISORS	LUCE, WAGENKNECHT, MOSKOWITE

and DILLON

NOES:		SUPERVISORS	NONE

ABSTAIN:	SUPERVISORS	NONE

ABSENT:	SUPERVISORS	DODD

DIANE DILLON, CHAIR

Napa County Board of Supervisors

ATTEST:  PAMELA A. MILLER

Clerk of the Board of Supervisors

By:_____________________

APPROVED AS TO FORM

Office of County Counsel

By:  Patricia L. Tyrrell (by e-signature)

Deputy County Counsel

By:  Sue Ingalls (by e-signature)

County Code Services

Date:  September 7, 2005

APPROVED BY THE NAPA COUNTY

BOARD OF SUPERVISORS

Date:   September 20, 2005

Processed by:

______________________________

Deputy Clerk of the Board