ORDINANCE NO. ________

AN ORDINANCE OF THE BOARD OF SUPERVISORS OF THE COUNTY OF NAPA, STATE OF CALIFORNIA, INCORPORATING THE REVISED CALIFORNIA BUILDING STANDARDS CODE WITH AMENDMENTS ADDRESSING LOCAL CLIMATIC, GEOGRAPHIC AND TOPOGRAPHIC CHARACTERISTICS BY AMENDING TITLE 15 OF THE NAPA COUNTY CODE AS FOLLOWS:  ADDING CHAPTERS 15.29 (ENERGY CODE) AND 15.35 (EXISTING BUILDING CODE); AMENDING SECTION 13.16.500 (VIOLATIONS); AMENDING CHAPTERS 15.04 (ADMINISTRATION OF BUILDING REGULATIONS), 15.12 (BUILDING CODE), 15.20 (PLUMBING CODE), 15.24 (MECHANICAL CODE), 15.28 (ELECTRICAL CODE), 15.30 (HISTORICAL CODE), AND 15.32 (FIRE CODE); AND REPEALING CHAPTER 15.34 (BUILDING CONSERVATION CODE).

The Board of Supervisors of the County of Napa, State of California, ordains as follows:

SECTION 1.		Chapter 15.04 (Administration of Building Regulations) of the Napa County Code is amended to read in full as follows:

Chapter 15.04

ADMINISTRATION OF BUILDING REGULATIONS

Sections:

15.04.010	Findings.

15.04.020	Definitions.

15.04.030	Building division.

15.04.040	Chief building official and building inspectors.

15.04.050	Scope.

15.04.060	Expiration of permits.

15.04.070	Violations.

15.04.080	Liability.

15.04.090	Board of appeals.

15.04.010	Findings.

A.	Section 17958 of the Health and Safety Code of the state provides that the governing body of every county within this state may make changes or modifications by local ordinance within one hundred eighty days after provisions or regulations are adopted pursuant to Section 17922 of said code, and published in the State Building Standards Code upon express findings pursuant to Sections 17958.5 and 17958.7 of said code.

B.	Section 17958.5 of said code permits the making of such changes or modifications in the requirements of the State Building Standards Code and other regulations adopted pursuant to California Health and Safety Code Section 17922 as a county may determine are reasonably necessary because of local climatic, geological or topographical conditions.

C.	The director of the conservation, development and planning department of the county, the director of public works, the director of the department of environmental management, the building codes administrator, and other officials of Napa County have presented information to the board of supervisors and have given other evidence of the reasonable necessity due to local climatic, geological, and topographical conditions that certain modifications be made in such codes at the time of their adoption, all as are hereinafter set forth.

D.	The board of supervisors does herein and in conjunction with Resolution No. 07-148 expressly determine and find that the modifications herein provided are in fact needed because of the local climatic, geological and topographical conditions set forth in said resolution.

15.04.020	Definitions.

Except where expressly provided otherwise, all references in the codes or portions thereof adopted by this chapter and Chapters 15.06, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44 to “city” shall mean the county of Napa; to “city council” or “mayor” shall mean the board of supervisors of the county of Napa; to “state” shall mean the state of California; to “housing act” shall mean the Housing Act of the state of California; to “building official” or “administrative authority” shall mean the building official of the county of Napa; to “health officer” shall mean the director of environmental management of the county of Napa; and to “fire marshal” shall mean the ranger in charge of the State Department of Forestry in Napa County.

15.04.030	Building division.

There is established within the conservation, development and planning department of the county of Napa a building division. The board of supervisors shall budget and appropriate such county funds to the conservation, development and planning department, building division, as it may deem necessary for the operation of such division.

15.04.040	Chief building official and building inspectors.

A.	There is established the office of chief building official, who shall be the head of the building division.

B.	The chief building official shall supervise and have charge of all work and inspections relating to and the enforcement of the codes adopted hereunder, except as herein provided.

C.	The director of the Napa County environmental management department shall supervise and have charge of all inspections relating to the installation of septic tanks and disposal fields.

D.	The chief building official shall have such deputy building inspectors as the board of supervisors shall provide and such deputy building inspectors shall assist the chief building official in the performance of his duties, acting under his instruction and supervision.

E.	The chief building official, the deputies of the building division and representatives of the Napa County department of environmental management shall have the right of entry, as defined in various codes adopted by the ordinance codified in this chapter and Chapters 15.06, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44, in, and upon, all buildings and premises in the county for the purpose of making inspections, reinspections, or otherwise performing their respective duties as may be necessary in the enforcement of this chapter and Chapters 15.06, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44.

F.	It shall be the duty of the chief building official to have a permanent record kept of all pertinent transactions of his office and to render a report when requested to the board of supervisors of all permits issued and fees collected. All fees collected shall be turned over to the county treasurer for deposit into the general fund of Napa County.

15.04.050	Scope.

The provisions of this chapter and Chapters 15.06, 15.08, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44 shall apply to all buildings and structures in the unincorporated territory of Napa County.

15.04.060	Expiration of permits.

A.	Every permit issued by the building official under the provisions of this code shall expire by limitation and become null and void if the building or work authorized by such permit is not commenced within one calendar year from the date of such permit, or if the building or work authorized by such permit is suspended or abandoned at any time after the work is commenced, or if no inspection has been requested or performed for a period of one hundred eighty days. Before such work can be recommenced, a new permit shall be first obtained so to do, and the fee therefore shall be one-half the amount required for a new permit for such work, provided no changes have been made or will be made in the original plans and specifications for such work; and provided further that such suspension or abandonment has not exceeded one year.

B.	Any permittee holding an unexpired permit may apply for an extension of the time within which he may commence work under that permit when he is unable to commence work within the time required by this section for good and satisfactory reasons. The building official may extend the time for action by the permittee for a period not exceeding one hundred eighty days upon written request by the permittee showing that circumstances beyond the control of the permittee have prevented action from being taken. No permit shall be extended more than twice or for more than a total of one year. In order to renew action on a permit after expiration, the permittee shall pay a new full permit fee.

15.04.070	Violations.

A.	It is unlawful and a public nuisance for any person, firm or corporation, whether as owner, lessee, sublessee or occupant, to erect, construct, enlarge, alter, repair, move, improve, remove, convert or demolish, equip, use, occupy, or maintain any building or structure in the unincorporated territory of Napa County, or cause the same to be done, contrary to or in violation of any of the provisions of this chapter or Chapters 15.06, 15.08, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44. Maintenance of equipment which was unlawful at the time it was installed and which would be unlawful under this chapter or Chapters 15.06, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44, shall constitute a continuing violation of this chapter or Chapters 15.06, 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44.

B.	In addition to any procedures for abatement set forth in the uniform codes adopted by Chapters 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44, violations thereof or of Chapters 15.06 or 15.08 may be civilly abated or criminally prosecuted and punished in the manner set forth in Chapter 1.20 of this title for public nuisances as defined therein.

15.04.080	Liability.

This chapter or Chapters 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44 shall not impose upon the county of Napa any liability or responsibility for damage resulting from defective building, plumbing, mechanical or electrical work; nor shall the county of Napa, or any official or employee thereof, be held to assume any such liability or responsibility by reason of the inspection authorized hereunder.

15.04.090	Board of appeals.

A.	In order to hear and decide appeals of orders, decisions or determinations made by the building official relative to the application and interpretation of the regulations adopted by Chapters 15.12, 15.16, 15.20, 15.24, 15.28, 15.29, 15.30, 15.32, 15.35, 15.36 and 15.44, there shall be and is hereby created a unified board of appeals consisting of five voting members who are qualified by experience and training to pass upon matters pertaining to building construction and at least one of whom shall be qualified by experience and training to pass upon matters pertaining to disability access.  None of the voting members shall be an employee of the county. The building official shall be an ex officio member of and shall act as secretary to the board of appeals but shall have no vote on any matter before the board. The board of appeals shall be appointed by the board of supervisors and shall hold office at its pleasure. The board shall adopt rules of procedure for conducting its business, shall render its decisions and findings in writing to the appellant with a duplicate copy to the building official, and may recommend to the board of supervisors such new legislation as is consistent with those decisions.

B.	The board of appeals shall have no authority relative to interpretation of the administrative provisions of the various codes adopted in this title nor shall the board of appeals be empowered to waive the requirements of such codes.

C.	Appeal from any finding of the board of appeals may be made by the applicant or the building official and shall be processed, heard and decided in the manner provided by Chapter 2.88 of this code.

SECTION 2.		Chapter 15.12 (Building Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.12

BUILDING CODE

Sections:

15.12.010	Document adopted by reference.

15.12.020	Modifications.

15.12.025	Section 105.5 - Expiration of Permits.

15.12.030	Sections 108.8 and 112 - Board of appeals.

15.12.040	(Reserved.)

15.12.050	(Reserved.)

15.12.060	(Reserved.)

15.12.070	(Reserved.)

15.12.080	(Reserved.)

15.12.090	(Reserved.)

15.12.100	(Reserved.)

15.12.110	(Reserved.)

15.12.120	(Reserved.)

15.12.130	(Reserved.)

15.12.131	(Reserved.)

15.12.132	(Reserved.)

15.12.133	(Reserved).

15.12.134	(Reserved.)

15.12.140	(Reserved.)

15.12.150	(Reserved.)

15.12.160	(Reserved.)

15.12.170	(Reserved.)

15.12.180	Section 436.1 – Scope.

15.12.190	Section 436.4 – Amendment

15.12.200	Section 436.5 – Permits.

15.12.210	Section 436.7.3 – Noncombustible construction.

15.12.220	Section 436.8.4 – Noncombustible contents.

15.12.230	Section 436.8.5 – Prohibited equipment.

15.12.240	Section 436.8.6 – Hazardous materials storage.

15.12.250	Section 436.8.7 – Special requirements for Type 3 winery cave.

15.12.260	Section 436.10 – Fire alarm systems.

15.12.270	Section 436.11.3 – Exit access travel distance.

15.12.280	Section 436.16 – Emergency Communication.

15.12.290	Section 903.2 – Where required.

15.12.300	Section 903.4 – Sprinkler system monitoring and alarms.

15.12.310	Section 905.3.1 – Building height.

15.12.320	Section 1505.1.2 – Real coverings within state responsibility areas.

15.12.010	Document adopted by reference.

For the purpose of establishing proper regulations for building construction, the 2007 edition of the California Building Code, volumes I and II, hereinafter referred to as “building code,” including Appendix Chapter 1, Appendix Chapter C, and Appendix Chapter I, which is based on the 2006 International Building Code adopted with modifications by the State of California as Title 24, Part 2 of the California Code of Regulations, is adopted and made a part of this code by reference, subject to the modifications set forth in this chapter.

15.12.020	Modifications.

Each section of the building code designated in the succeeding sections of this chapter shall be changed to read as set forth in this chapter, except that where the modification is a deletion only, the deletion shall be noted without setting forth the text of the section.

15.12.025	Section 105.5 - Expiration of Permits.

Section 105.5 of Appendix Chapter 1 is amended to read as set forth in Section 15.04.060 of this code.

15.12.030	Sections 108.8 and 112 - Board of appeals.

The functions of the board of appeals referred to in Section 108.8 of Chapter 1 of the Building Code and Section 112 of Appendix Chapter 1 shall be performed by the unified board of appeals constituted pursuant to Section 15.04.090 of this code and no separate board of appeals shall be created.

15.12.040	(Reserved.)

15.12.050	(Reserved.)

15.12.060	(Reserved.)

15.12.070	(Reserved.)

15.12.080	(Reserved.)

15.12.090	(Reserved.)

15.12.100	(Reserved.)

15.12.110	(Reserved.)

15.12.120	(Reserved.)

15.12.130	(Reserved.)

15.12.131	(Reserved.)

15.12.132	(Reserved.)

15.12.133	(Reserved.)

15.12.134	(Reserved.)

15.12.140	(Reserved.)

15.12.150	(Reserved.)

15.12.160	(Reserved.)

15.12.170	(Reserved.)

15.12.180	Section 436.1 – Scope.

Section 436.1 of the building code is amended to read in full as follows:

436.1 Scope.  Special provisions for the occupancy and construction of subterranean space for winery facilities in natural or manmade caves, whether new or an addition to an existing cave shall be in accordance with this section.

15.12.190	Section 436.4 – Amendment

A.	Section 436.4 of the building code is hereby amended to modify the following definition:

TYPE 3 WINERY CAVES.  Natural or manmade caves used for the storage and/or processing of wine at a winery facility.   Type 3 winery caves are accessible to the public on guided tours or by hosted events.  Any cave or portion of a cave that exhibits any of the following is also considered to be a Type 3 cave:

1.  Contains an area classified as a Group A occupancy.

2.  Contains an area classified as other than Group F or S occupancy.

3.  Is constructed or furnished with any amount of combustible materials not otherwise permitted in this section.

B.	The following definitions are added to Section 436.4 of the building code:

HOSTED EVENTS.  Any event held within the winery cave and attended by non-employees.  This includes, but is not limited to: wine tasting; banquets; receptions; seminars; or any other event attended by people that are not employees of the winery.  Hosted events are only allowed in caves or portions of caves that are Type 3.

TOURS.  Whenever people that are not employees of the winery pass through or otherwise occupy a winery cave, for any purpose, including the tasting of wine.  All tours must comply with 436.8.1 requirements for public tours.

15.12.200	Section 436.5 – Permits.

Section 436.5 of the building code is hereby amended to read as follows:

436.5 Permits.  Permits for the operation, construction, alteration, enlargement or repair of Type 1, 2 and 3 winery caves, including all retaining walls, associated equipment and facilities, shall be per Appendix Chapter 1.

Exception:  A building permit is not required for the excavation that creates the subterranean space for a winery cave.

15.12.210	Section 436.7.3 – Noncombustible construction.

Section 436.7.3 is hereby added to the building code to read as follows:

436.7.3 Noncombustible construction:  Type 1 and Type 2 winery caves must be constructed of noncombustible materials throughout.

Exception:  Doors and other openings in exterior and interior walls and partitions may be made of combustible materials unless otherwise limited by this code.

15.12.220	Section 436.8.4 – Noncombustible contents.

Section 436.8.4 is hereby added to the building code to read as follows:

436.8.4 Noncombustible contents.  Contents of Type 1 and Type 2 winery caves shall not include combustible contents other than wine itself.

Exceptions:

1.  Wooden barrels or tanks.  Combustible storage vessels filled with wine, or to be filled with wine in the immediate future; may be empty as part of the wine processing and storage.  Long term storage of empty wooden barrels or tanks is prohibited.

2.  Wooden barrel supports that are constructed of at least 2-inch nominal dimension lumber.

3.  Small quantities of combustible materials needed for immediate or frequent use in the processing and storage of wine, or to service and maintain restrooms, wine laboratories or wine libraries, are allowed.

15.12.230	Section 436.8.5 – Prohibited equipment.

Section 436.8.5 is hereby added to the building code to read as follows:

436.8.5 Prohibited equipment.  No hydrocarbon powered mechanized equipment shall be used within the wine cave.  Electrical, hydraulic, and/or pneumatic powered mechanized equipment is permitted.

15.12.240	Section 436.8.6 – Hazardous materials storage.

Section 436.8.6 is hereby added to the building code to read as follows:

436.8.6 Hazardous materials storage.  Only hazardous materials storage directly related to and essential for wine processing operations in the cave is allowed.   Hazardous materials storage shall be maintained in compliance with Article 80 of the California Fire Code.

15.12.250	Section 436.8.7 – Special requirements for Type 3 winery cave.

Section 436.8.7 is hereby added to the building code to read as follows:

436.8.7 Special requirements for Type 3 winery cave.  Caves or portions of caves classified as Type 3 shall be provided with an automatic sprinkler system compliant with Section 903.

15.12.260	Section 436.10 – Fire alarm systems.

Section 436.10 of the building code is hereby amended to read as follows:

436.10 Fire alarm systems.  An approved manual fire alarm system conforming to the provisions of Section 907.2.1 shall be provided in:

1.  Type 1 or Type 2 winery caves containing restrooms, wine laboratories or wine libraries.

2.  All Type 3 winery caves.

15.12.270	Section 436.11.3 – Exit access travel distance.

Section 436.11.3 is hereby added to the building code to read as follows:

436.11.3 Exit access travel distance.  Maximum length of exit access travel in barrel storage and fermentation areas in winery caves, portions of Group F or S occupancy, shall be a maximum of 300 feet in areas without an automatic sprinkler system or a maximum of 400 feet if the area has an automatic sprinkler system.  Areas classified as other than F or S occupancies shall comply with the exit access travel distance requirements of Chapter 10, and in accordance with CBC Table 1016.1.

15.12.280	Section 436.16 – Emergency Communication.

Section 436.16 is hereby added to the building code to read as follows:

436.16 Emergency Communication.  Fire department approved emergency communications capability shall be provided for emergency responders.

15.12.290	Section 903.2 – Where required.

Section 903.2 of the building code is hereby amended to read as follows:

903.2 Where Required.  In addition to the requirements of section 903.2.1 through 903.2.17, an approved automatic fire sprinkler system shall be installed and maintained in the all occupancies except Group R-3 (single family residences) and Group U, as follows:

1.  Throughout all new buildings with a gross floor area of 3,600 square feet or greater; or

2. Throughout all additions that exceed 3,600 square feet; or

3.  Throughout an entire building when an addition or expansion to the existing building exceeds 50% of the existing floor area and the building exceeds  3,600 square feet; or

4.  Throughout an entire building which exceeds 3600 square feet when repair of significant structural damage to the existing building (caused by flood, fire or earthquake, for example) requires rebuilding of 50% of the building structure.

15.12.300	Section 903.4 – Sprinkler system monitoring and alarms.

Section 903.4 of the building code is hereby amended to read as follows:

903.4 Sprinkler System Monitoring and Alarms.  Except for Group R-3 occupancies, all valves controlling the water supply for automatic fire sprinkler systems, pumps, tanks, water levels, and water flow switches shall be electrically supervised.

15.12.310	Section 905.3.1 – Building height.

Section 905.3.1 of the building code is hereby amended to read as follows:

905.3.1 Building Height.  Class I standpipes shall be installed in buildings three stories or more in height. Approved outlets shall be provided on each floor level. An approved outlet shall be provided on the roof.

15.12.320	Section 1505.1.2 – Real coverings within state responsibility areas.

Section 1505.1.2 of the building code is hereby amended to read as follows:

1505.1.2 Real coverings within state responsibility areas.  The entire roof covering of every existing structure where more than 50% of the total roof area is replaced within any one-year period, the entire roof covering of every new structure and any roof applied in the alteration, repair or replacement of the roof of every existing structure shall be a fire-retardant roof covering that is at least Class A.

SECTION 3.		Chapter 15.20 (Plumbing Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.20

PLUMBING CODE

Sections:

15.20.010	Document adopted by reference.

15.20.020	Modifications.

15.20.030	(Reserved.)

15.20.040	Section 108.8 - Board of appeals.

15.20.050	(Reserved.)

15.20.055	Definitions Amended.

15.20.060	(Reserved.)

15.20.070	(Reserved.)

15.20.080	(Reserved.)

15.20.090	Section 306.1 amended - Damage to drainage system or public sewer.

15.20.100	Chapter 7, Part II modified and incorporated into Title 13, Division II.

15.20.110	(Reserved.)

15.20.010	Document adopted by reference.

For the purpose of establishing proper regulations for building construction and the installation of plumbing systems, the 2007 Edition of the California Plumbing Code, hereinafter referred to as “plumbing code”, including Appendices Chapter 1, A, B, and D, which is based on the 2006 Edition of the Uniform Plumbing Code of the International Association of Plumbing and Mechanical Officials adopted with modifications by the State of California as Title 24, Part 5 of the California Code of Regulations, is adopted and made a part of this code by reference, subject to the modifications set forth in this chapter.

15.20.020	Modifications.

Each section of the plumbing code designated in succeeding sections of this chapter shall be changed to read as set forth in this chapter, except that where the modification is a deletion only, the deletion shall be noted without setting forth the text of the section, and all modifications of Chapter 7, Part II of the plumbing code are set forth in Division II, Title 13 of the code rather than in this chapter.

15.20.030	[Reserved.]

15.20.040	Section 108.8 - Board of appeals.

The functions of a board of appeals for the plumbing code referred to in Section 108.8 shall be performed by the unified board of appeals constituted pursuant to 15.04.090 of this code and no separate board of appeals shall be created.

15.20.050	(Reserved.)

15.20.055	Definitions Amended.

A.	The definition of “authority having jurisdiction” in Section 203.0 is amended to read in full as follows:

Authority Having Jurisdiction

The Authority Having Jurisdiction shall be the building division of the Napa County Department of Conservation, Development and Planning; except that for the issuing of permits, collection of fees and inspections in connection with public sewers, the Authority Having Jurisdiction shall be, within their respective jurisdictions, the Napa Sanitation District, the Napa County Department of Public Works (for the Napa Berryessa Resort Improvement District and the Lake Berryessa Resort Improvement District), the Spanish Flat Water District or the Circle Oaks Water District; and for the administration of the provisions of the Plumbing Code relating to individual and private sewage disposal systems as defined in Division II of Title 13 of the Napa County Code (other than Section 723 of the Plumbing Code), the Authority Having Jurisdiction shall be the Napa County director of environmental management or his authorized representative.

B.	The definition of “cesspool” in Section 205.0 is deleted except as noted in Section 13.16.500 of Division II of Title 13 of this code.

C.	The definition of “lot” in Section 214.0 of the plumbing code is amended to read as set forth in Section 17.02.320 of this code.

D.	The definition of “private sewage disposal system” in Section 218.0 of the plumbing code is amended to read as set forth in Section 13.16.345 of this code.

E.	The definition of “public sewer” in Section 218.0 of the plumbing code is amended to read as set forth in Section 13.16.350 of this code.

F.	The definition of “seepage pit” in Section 221.0 of the plumbing code are deleted except as noted in Section 13.16.500 of Division II of Title 13 of this code.

G.	The definition of “septic tank” in Section 221.0 is hereby amended to read in full as follows:

Septic Tank

A septic tank is a watertight receptacle which receives the discharge of a drainage system or part thereof, designed and constructed so as to retain solids, digest organic matter through a period of detention and allow the liquids to discharge into the soil outside the tank through a system of open joint piping meeting the requirements of this code.

H.	The definition of “sewage” in Section 221.0 of the plumbing code is amended to read as set forth in Section 13.16.360 of this code.

15.20.060	(Reserved.)

15.20.070	(Reserved.)

15.20.080	(Reserved.)

15.20.090	Section 306.1 amended—Damage to drainage system or public sewer.

Section 306.1 of the plumbing code is incorporated, with modifications, into subsection (A) of Section 13.20.090 of Division II, “Sewage Systems,” of Title 13 of this code.

15.20.100	Chapter 7, Part II modified and incorporated into Title 13, Division II.

The provisions of Chapter 7, part II, “Building Sewers,” of the plumbing code are incorporated, with modifications, into Division II, “Sewage Systems,” of Title 13 of this code, with the corresponding plumbing code references noted therein, except that Section 723 of the plumbing code is adopted without modification by and under this chapter.

15.20.110	(Reserved.)

SECTION 4.		Section 13.16.500 (Violations) of Chapter 13 (General Provisions and Definitions) of the Napa County Code is amended to read in full as follows:

    - Violations.

It shall be unlawful and a public nuisance to construct, operate, or maintain any private sewer, individual sewage disposal system, private sewage disposal system, special design sewage disposal system, or appurtenances thereto in violation of any of the provisions of this division, or to construct or to fail to properly abandon when ordered any cesspool or seepage pit as defined in the California Plumbing Code.  In addition to any other remedies provided in this division, such violations may be abated pursuant to Chapter 1.20 and shall be a misdemeanor punishable as provided in Section 1.20.150 of this code (CPC §722.4, modified).

SECTION 5.		Chapter 15.24 (Mechanical Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.24

MECHANICAL CODE

Sections:

15.24.010	Document adopted by reference.

15.24.020	Modifications.

15.24.030	Section 108.8 - Board of appeals.

15.24.040	(Reserved.)

15.24.010	Document adopted by reference.

For the purpose of establishing proper regulations for building construction and for the installation of mechanical systems, the 2007 Edition of the California Mechanical Code, hereinafter referred to as “mechanical code,” including Appendices Chapter 1, A, B, C and D, which is based on the 2006 Edition of the Uniform Mechanical Code of the International Association of Plumbing and Mechanical Officials adopted with modifications by the state of California as Title 24, Part 4 of the California Code of Regulations, is adopted and made a part of this code by reference, subject to the modifications set forth in this chapter.

15.24.020	Modifications.

Each section of the mechanical code designated in succeeding sections of this chapter shall be changed to read as set forth in this chapter, except that where the modification is a deletion only, the deletion shall be noted without setting forth the text of the section.

15.24.030	Section 108.8—Board of appeals.

The functions of the board of appeals referred to in Section 108.8 of the Mechanical Code shall be performed by the unified board of appeals constituted pursuant to Section 15.04.090 of this code and no separate board of appeals shall be created.

15.24.040	(Reserved.)

SECTION 6.		Chapter 15.28 (Electrical Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.28

ELECTRICAL CODE

Sections:

15.28.010	Documents adopted by reference.

15.28.020	Modifications.

15.28.030	Section 89.108.8 - Board of appeals.

15.28.040	Section 89.108.3.1.1 - Organization.

15.28.041	Section 89.108.5.2. - Right of entry.

15.28.042	Section 89.108.9.3 - Enforcement.

15.28.010	Documents adopted by reference.

For the purpose of establishing proper regulations for building construction and for the installation of electrical systems, the provisions of the 2007 Edition of the California Electrical Code, hereinafter referred to as “electrical code,” including Annexes B, C, D, E, F and G, which is based upon the 2005 Edition of the National Electrical Code published by the National Fire Protection Association adopted with modifications by the state of California as Title 24, Part 3 of the California Code of Regulations, , is adopted and made a part of this code by reference.

15.28.020	Modifications.

Each section of the electrical code designated in succeeding sections of this chapter shall be changed to read as set forth in this chapter, except that where the modification is a deletion only, the deletion shall be noted without setting forth the text of the section.

15.28.030	Section 89.108.8 - Board of appeals.

The functions of a board of appeals referred to in Section 89.108.8 of the electrical code shall be performed by the unified board of appeals constituted pursuant to Section 15.04.090 of this code and no separate board of appeals shall be created.

15.28.040	Section 89.108.3.1.1 - Organization.

Section 89.108.3.1.1 is added to the electrical code to read in full as follows:

The building official is designated as the enforcement official of this code. For purposes of this chapter, the terms “building official” and “electrical inspector” in the electrical code shall mean the conservation, development and planning director, assistant conservation, development and planning director, chief building official, field inspection supervisor and building inspector(s), who shall have those powers granted in Chapter 1.24 of the county code.

15.28.041	Section 89.108.5.2 - Right of entry.

Section 89.108.5.2 is added to the electrical code to read in full as follows:

Whenever necessary to make an inspection to enforce the provisions of this code, or whenever the building official has reasonable cause to believe there exists in a building or upon a premises a condition or code violation which makes such building or premises unsafe, dangerous, or hazardous, the building official may enter such building or premises at all reasonable times to inspect the same or to perform any duty imposed upon the building official by such codes, provided that if such building or premises be occupied, the building official shall first present proper credentials and request entry. If such building or premises is unoccupied, the building official shall first make a reasonable effort to locate the owner or other persons having charge or control of the building or premises and request entry. If entry be refused, the building official shall have recourse to every remedy provided by law to secure entry. When the building official shall have first obtained a proper inspection warrant or other remedy provided by law to secure entry, an owner or occupant or other persons having charge, care or control of the building or premises shall not fail or neglect, after proper request is made as herein provided, to promptly permit entry therein by the building official for the purpose of inspection and examination pursuant to this code.

15.28.042	Section 89.108.9.3 - Enforcement.

Section 89.108.9.3 is added to the electrical code to read in full as follows:

A.	Authority to Disconnect. The electrical inspector is authorized to disconnect and order discontinuance of electric service to any electric wiring, devices, appliances or equipment found to be in violation of this code under any of the following conditions:

1.	Failure of the owner or electrical contractor to secure the required electrical permit;

2.	Hazardous electrical work found to be dangerous to life or property due to defective wiring, devices, appliances or equipment;

3.	Electrical work connected to service without the approval of the electrical inspector;

4.	Temporary power poles that have been connected for more than six months.

Any order issued pursuant to this section may be made either to the person using and maintaining the condition, or to the person responsible for its use and maintenance, and shall specify the date or time for compliance with its terms.

B.	Authority to Condemn Electrical System and Equipment. Whenever the electrical inspector shall find any electrical equipment to have been unlawfully installed, changed or altered, or to be operated or used in a manner or under conditions contrary to the provisions of this code or of any ordinance, rule or regulation thereto pertaining, or, in the judgment of the electrical inspector, to be unsafe or dangerous to person or property, the electrical inspector shall have the authority and power to condemn such unlawfully installed, changed or altered, or unlawfully operated or used, or defective, unsafe or dangerous electrical equipment and to prohibit the further use thereof until the said unlawful, defective, unsafe or dangerous conditions with respect thereto shall have been remedied; and the inspector is likewise further authorized and empowered thereupon summarily to disconnect any such electrical equipment from its source of current supply and to place a seal thereon, or to order and require the person supplying electrical energy to such equipment to disconnect his supply or service wires and discontinue the supply of electrical energy to such equipment. The electrical inspector may take any or all of the above actions as, in his discretion, he deems to be warranted by the circumstances and conditions of the case.

C.	Connection After Order to Disconnect. Wherever the electrical inspector shall find any electrical distribution system, or any live supply or service conductor therefrom, to have been connected to any electrical equipment in, on or about any building without authority therefore as required by this code or after issuance of an order to disconnect, the electrical inspector shall be authorized and empowered to cause such system or conductor to be disconnected from such electrical equipment, or to order and require the same to be disconnected by the person owning or operating such distribution system. It shall be unlawful and a public nuisance for such person to fail to comply with such order.

D.	Violations Unlawful and a Public Nuisance. It is unlawful and a public nuisance for any person supplying electrical energy to any electrical equipment to fail, neglect or refuse immediately to disconnect his supply or service wires and discontinue the supply of electrical energy to such electrical equipment when notified and directed so to do under and in accordance with the provisions of this chapter. It shall also be unlawful and a public nuisance for the person owning or in charge or control of any such condemned electrical equipment, to fail to remedy or remove the problem within the period of time fixed by the electrical inspector in his notice to such person directing that the unlawful, defective, unsafe or dangerous conditions thereof or with respect thereto be so remedied or removed.

SECTION 7.		A new Chapter 15.29 (Energy Code) is hereby added to the Napa County Code to read in full as follows:

/ / /

/ / /

Chapter 15.29

ENERGY CODE

Sections:

15.29.010	Document adopted by reference.

15.29.010	Document adopted by reference.

The 2007 Edition of the California Energy Code, adopted by the State of California as Title 24, Part 68 of the California Code of Regulations, is adopted and made a part of this code by reference.

SECTION 8.		Chapter 15.30 (Historical Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.30

HISTORICAL BUILDING CODE

Sections:

15.30.010	Document adopted by reference.

15.30.010	Document adopted by reference.

For the purpose of establishing proper regulations for the renovation of historical buildings, the 2007 Edition of the California Historical Building Code, hereinafter referred to as “historical building code” adopted by the State of California as Title 24, Part 8 of the California Code of Regulations, is adopted and made a part of this code by reference.

SECTION 9.		Chapter 15.32 (Fire Code) of the Napa County Code is amended to read in full as follows:

Chapter 15.32

FIRE CODE

Sections:

15.32.010	Document adopted by reference.

15.32.020	Section 108 -  Board of appeals.

15.32.030	(Reserved.)

15.32.040	Section 101.1.1 - Application.

15.32.050	(Reserved.)

15.32.060	(Reserved.)

15.32.070	(Reserved.)

15.32.080	(Reserved.)

15.32.090	(Reserved.)

15.32.100	(Reserved.)

15.32.110	(Reserved.)

15.32.120	(Reserved.)

15.32.130	(Reserved.)

15.32.140	(Reserved.)

15.32.150	(Reserved.)

15.32.160	(Reserved.)

15.32.170	(Reserved.)

15.32.180	(Reserved.)

15.32.190	(Reserved.)

15.32.200	(Reserved.)

15.32.210	(Reserved.)

15.32.220	(Reserved.)

15.32.230	(Reserved.)

15.32.240	(Reserved.)

15.32.250	(Reserved.)

15.32.260	(Reserved.)

15.32.270	(Reserved.)

15.32.280	(Reserved.)

15.32.290	(Reserved.)

15.32.300	(Reserved.)

15.32.310	(Reserved.)

15.32.320	(Reserved.)

15.32.330	(Reserved.)

15.32.340	(Reserved.)

15.32.350	(Reserved.)

15.32.360	(Reserved.)

15.32.370	(Reserved.)

15.32.380	(Reserved.)

15.32.390	(Reserved.)

15.32.400	(Reserved.)

15.32.410	(Reserved.)

15.32.420	(Reserved.)

15.32.430	(Reserved.)

15.32.440	(Reserved.)

15.32.450	(Reserved.)

15.32.460	(Reserved.)

15.32.470	(Reserved.)

15.32.480	(Reserved.)

15.32.490	(Reserved.)

15.32.500	(Reserved.)

15.32.510	(Reserved.)

15.32.520	(Reserved.)

15.32.530	(Reserved.)

15.32.540	(Reserved.)

15.32.550	(Reserved.)

15.32.560	(Reserved.)

15.32.570	(Reserved.)

15.32.580	(Reserved.)

15.32.590	(Reserved.)

15.32.600	(Reserved.)

15.32.610	(Reserved.)

15.32.620	(Reserved.)

15.32.630	(Reserved.)

15.32.640	(Reserved.)

15.32.650	(Reserved.)

15.32.660	(Reserved.)

15.32.670	(Reserved.)

15.32.680	(Reserved.)

15.32.690	(Reserved.)

15.32.700	Section 503.1 - Where Required.

15.32.705	Section 503.2.6 - Bridges and Elevated Services.

15.32.710	Section 903.2 - Where Required.

15.32.720	Section 903.4 - Sprinkler System Monitoring and Alarms.

15.32.730	Section 905.3.1 - Building Height.

15.32.740	(Reserved.)

15.32.750	Section 4714.1 - Defensible Space for Structures and Roads (General).

15.32.760	Section 4714.2 - Roadways.

15.32.770	Section 4714.3 - Corrective Actions.

15.32.780	Appendix Chapter 1, Section 109.3 - Violation penalties.

15.32.790	Appendix Chapter 1, Section 111.4 - Failure to comply.

15.32.800	Appendix B, Section B103.3 - Areas Without Water Supply Systems.

15.32.801	Appendix B, Section B103.4 - Alternative Means of Protection.

15.32.802	Appendix B, Section B105.1.1 - One and Two Family Dwellings Under 6000 Square Feet and Not Served By a Public Water System.

15.32.803	Appendix B, Section B105.1.2 - One and Two Family Dwellings Over 6000 Square Feet and Not Served by a Public Water System.

15.32.804	Appendix B, Section B105.2 - Buildings Other Than One and Two Family Dwellings.

15.32.805	Table B105.2 is added – Minimum fire flow.

15.32.806	Table B105.3 is added – Minimum fire flow.

15.32.807	Table B105.4 is added – Minimum fire flow.

15.32.010	Document adopted by reference.

That portion of the California Building Standards Code that imposes substantially the same requirements as are contained in the California Fire Code, 2007 which is based on the 2006 International Fire Code with Errata, including Appendix Chapter 1, Appendix Chapter 4, Appendix B and Appendix C as modified and amended by this chapter, are adopted by this reference into this Chapter, and are hereby collectively declared to be the Fire Code of Napa County, in the State of California regulating and governing the safeguarding of life and property from fire and explosion hazards arising from the storage, handling and use of hazardous substances, materials and devices, and from conditions hazardous to life or property in the occupancy of buildings and premises as herein provided; providing for the issuance of permits and collection of fees therefore; and each and all of the regulations, provisions, penalties, conditions and terms of said Fire Code on file in the office of the County of Napa are hereby referred to, adopted, and made a part hereof, as if fully set out in this ordinance, subject to the modifications set forth below.

15.32.020	Section 108 - Board of appeals.

The functions of the board of appeals referred to in Section 108 of Appendix Chapter 1 of the Fire Code shall be performed by the unified board of appeals constituted pursuant to Section 15.04.090 of this code and no separate board of appeals shall be created.

15.32.030	(Reserved.)

15.32.040	Section 101.1.1 - Appendix Chapter 1 Application.

Section 101.1.1 is added to the Appendix Chapter 1 of the fire code to read as follows:

101.1.1 Application - Napa County. This code shall apply to all unincorporated areas of Napa County for the purpose of establishing minimum fire safety requirements for development in unincorporated Napa County.

EXCEPTION: Property in unincorporated Napa County outside the City of American Canyon and within the American Canyon Fire Protection District is under the jurisdiction of the American Canyon Fire Protection District.

15.32.050	(Reserved.)

15.32.060	(Reserved.)

15.32.070	(Reserved.)

15.32.080	(Reserved.)

15.32.090	(Reserved.)

15.32.100	(Reserved.)

15.32.110	(Reserved.)

15.32.120	(Reserved.)

15.32.130	(Reserved.)

15.32.140	(Reserved.)

15.32.150	(Reserved.)

15.32.160	(Reserved.)

15.32.170	(Reserved.)

15.32.180	(Reserved.)

15.32.190	(Reserved.)

15.32.200	(Reserved.)

15.32.210	(Reserved.)

15.32.220	(Reserved.)

15.32.230	(Reserved.)

15.32.240	(Reserved.)

15.32.250	(Reserved.)

15.32.260	(Reserved.)

15.32.270	(Reserved.)

15.32.280	(Reserved.)

15.32.290	(Reserved.)

15.32.300	(Reserved.)

15.32.310	(Reserved.)

15.32.320	(Reserved.)

15.32.330	(Reserved.)

15.32.340	(Reserved.)

15.32.350	(Reserved.)

15.32.360	(Reserved.)

15.32.370	(Reserved.)

15.32.380	(Reserved.)

15.32.390	(Reserved.)

15.32.400	(Reserved.)

15.32.410	(Reserved.)

15.32.420	(Reserved.)

15.32.430	(Reserved.)

15.32.440	(Reserved.)

15.32.450	(Reserved.)

15.32.460	(Reserved.)

15.32.470	(Reserved.)

15.32.480	(Reserved.)

15.32.490	(Reserved.)

15.32.500	(Reserved.)

15.32.510	(Reserved.)

15.32.520	(Reserved.)

15.32.530	(Reserved.)

15.32.540	(Reserved.)

15.32.550	(Reserved.)

15.32.560	(Reserved.)

15.32.570	(Reserved.)

15.32.580	(Reserved.)

15.32.590	(Reserved.)

15.32.600	(Reserved.)

15.32.610	(Reserved.)

15.32.620	(Reserved.)

15.32.630	(Reserved.)

15.32.640	(Reserved.)

15.32.650	(Reserved.)

15.32.660	(Reserved.)

15.32.670	(Reserved.)

15.32.680	(Reserved.)

15.32.690	(Reserved.)

15.32.700	Section 503.1 - Where Required.

Section 503.1 of the fire code is amended to read as follows:

503.1 Where required.  Fire apparatus access roads shall be provided and maintained in accordance with Sections 503.1.1 through 503.1.3 and the Napa County Road and Street Standards.

15.32.705	Section 503.2.6 - Bridges and Elevated Services.

Section 503.6 of the fire code is amended to read as follows:

503.2.6 Bridges and Elevated Surfaces.  Where a bridge or an elevated surface is part of a fire apparatus access road, the bridge shall be constructed and maintained in accordance with the H 20 load specification.  Bridges and elevated surfaces shall be designed to carry the imposed loads of fire apparatus.

Exception:  Bridges that are constructed as part of the fire apparatus access road that require the response of the ladder truck due to occupancy classification, use or building construction shall be constructed in accordance with the HS 20 load specification.

15.32.710	Section 903.2 - Where Required.

Section 903.2 of the fire code is amended to read as follows:

903.2 Where Required.  In addition to the requirements of section 903.2.1 through 903.2.17, an approved automatic fire sprinkler system shall be installed and maintained in the all occupancies except Group R-3 (single family residences) and Group U, as follows:

1.  Throughout all new buildings with a gross floor area of 3,600 square feet or greater; or

2. Throughout all additions that exceed 3,600 square feet; or

3.  Throughout an entire building when an addition or expansion to the existing building exceeds 50% of the existing floor area and the building exceeds  3,600 square feet; or

4.  Throughout an entire building which exceeds 3600 square feet when repair of significant structural damage to the existing building (caused by flood, fire or earthquake, for example) requires rebuilding of 50% of the building structure.

15.32.720	Section 903.4 - Sprinkler System Monitoring and Alarms.

Section 903.4 of the fire code is amended to read as follows:

903.4 Sprinkler System Monitoring and Alarms.  Except for Group R-3 Occupancies, all valves controlling the water supply for automatic sprinkler systems, pumps, tanks, water levels, water flow switches shall be electronically supervised.

15.32.730	Section 905.3.1 - Building Height.

Section 905.3.1 of the fire code is amended to read as follows:

905.3.1 Building Height.  Class I standpipes shall be installed in buildings three stories or more in height. Approved outlets shall be provided on each floor level.  An approved outlet shall be provided on the roof.

15.32.740	(Reserved.)

15.32.750	Section 4714.1 - Defensible Space for Structures and Roads (General).

Section 4714.1 of the fire code is amended to read as follows:

4714.1 General.  Persons owning, leasing, controlling, operating or maintaining buildings or structures in, upon or adjoining hazardous fire areas, and persons owning, leasing or controlling land adjacent to such buildings or structures , shall at all times:

1.  Maintain an effective fuel break by removing and clearing away flammable vegetation and combustible material from areas within 30 feet of buildings and structures;

Exception:  Single specimen trees, ornamental shrubbery or similar plants used as ground covers, provided they do not form a means of rapidly transmitting fire from the native growth to any structure.

2.  Maintain a fuel reduction zone by limiting flammable vegetation and combustible material located from 30 feet to 100 feet from buildings or structures;

Exception:  Grass and other vegetation located more than 30 feet from the buildings or structures and less than 18 inches in height need not be removed where necessary to stabilize the soil and prevent erosion.

3.  Remove portions of trees which extend within 10 feet of the outlet of a chimney;

4.  Maintain trees adjacent to or overhanging a building free of deadwood; and

5.  Maintain the roof of a structure free of leaves, needles or other dead vegetative growth.

15.32.760	Section 4714.2 - Roadways.

Section 4714.2 of the fire code is amended to read as follows:

4714.2 Roadways.  The fire code official is authorized to cause areas

within 10 feet on each side of portions of all roads, driveways and fire department access roads which are improved, designed or ordinarily used for vehicular traffic to be cleared of flammable vegetation and other combustible growth.  The fire code official is authorized to enter upon private property to do so.

Exception:  Single specimens of trees, ornamental shrubbery or cultivated ground cover provided they do not form a means of readily transmitting fire.

15.32.770	Section 4714.3 - Corrective Actions.

Section 4714.3 of the fire code is amended to read as follows:

4714.3 Corrective Actions.  The fire code official is authorized to give notice to the owner of the property upon which conditions regulated by Section 4714.1 exist to correct such conditions.  If the owner fails to correct such conditions, the fire code official is authorized to cause the same to be done and make the expense of such correction a lien upon the property where such condition exists.

15.32.780	Appendix Chapter 1, Section 109.3 - Violation penalties.

Section 109.3 of Appendix Chapter 1 of the fire code is amended to read as follows:

109.3 Violation penalties.  Persons who shall violate a provision of this code or shall fail  violation of the approved construction documents or directive of the fire code official, or of a permit or certificate used under provisions of this code, shall be subject to penalties as prescribed by law.

15.32.790	Appendix Chapter 1, Section 111.4 - Failure to comply.

Section 111.4 of Appendix Chapter 1 of the fire code is amended to read as follows:

111.4 Failure to comply.  Any person who shall continue any work after having been served with a stop work, except such work as that person is directed to perform to remove a violation or unsafe condition, shall be subject to penalties as prescribed by law.

15.32.800	Appendix B, Section B103.3 - Areas Without Water Supply Systems.

Section B103.3 of Appendix B of the fire code is amended to read as follows:

B103.3 Areas Without Water Supply Systems.  The minimum flow duration, fire flow and storage volume for buildings shall be as specified in Tables B105.2 through B105.4.  The fire code official is also authorized to utilize the NFPA 1142 or the International Wildland Urban Interface Code for residential development projects serving more than one parcel or serving multiple buildings on a single parcel.

15.32.801	Appendix B, Section B103.4 - Alternative Means of Protection.

Section 103.4 of Appendix B of the fire code is added to read as follows:

B103.4 Alternative Means of Protection.  Where water supplies for structural and wildfire protection can be delivered by a mobile water supply, large diameter hose, or portable pumps, the Chief may accept an in-lieu-of mitigation fee, as authorized by the Board of Supervisors, for on-site water supplies for fire protection.

15.32.802	Appendix B, Section B105.1.1 - One and Two Family Dwellings Under 6000 Square Feet and Not Served By a Public Water System.

Section 105.1.1 of Appendix B of the fire code is added to read as follows:

B105.1.1 One and Two family Dwellings Under 6000 Square Feet and Not Served By a Public Water System.  The minimum water storage shall be 2,500 gallons of capacity dedicated for fire protection.

Exception:  A reduction in fire flow of 50% is allowed when the building is protected with an approved automatic fire sprinkler system.

15.32.803	Appendix B, Section B105.1.2 - One and Two Family Dwellings Over 6000 Square Feet and Not Served by a Public Water System.

Section B105.1.2 of Appendix B of the fire code is added to read as follows:

B105.1.2 One and Two Family Dwellings Over 6000 Square Feet and Not Served by a Public Water System.  The minimum water storage shall be in accordance with Table B105.2.

Exception:  A reduction in fire flow of 50% is allowed when the building is protected with an approved automatic fire sprinkler system.

15.32.804	Appendix B, Section B105.2 - Buildings Other Than One and Two Family Dwellings.

Section B105.2 of Appendix B of the fire code is amended to read as follows:

B105.2 Buildings other than one and two family dwellings.  The minimum fire-flow and flow duration for buildings other than one and two family dwellings shall be as specified in Table B105.1.

Exception:  A reduction in required fire flow of up to 50 percent, as approved, is allowed when the building is provided with an approved automatic sprinkler system throughout.  The resulting fire flow shall not be less than 1,500 gallons per minute for the prescribed duration as specified in Table B105.1.

15.32.805	Table B105.2 is added – Minimum fire flow.

Table B105.2 is added to Appendix B of the fire code to read as follows:

Table B105.2  Minimum Required Fire Flow, Flow Duration, and Storage Volume for Light Fire Hazard Occupancies including but not limited to Residential Occupancies, Churches, Colleges, Dormitories, Hospitals, Institutions, Museums, Office Buildings and Schools not served by a Public Water Supply.

| Fire Area Light Fire Hazard Occupancy | Fire Flow Duration | Automatic Fire Sprinkler Protection |
| --- | --- | --- |
|  |  | Non-sprinklered | Sprinklered |
|  |  | Fire Flow | Storage Volume | Fire Flow | Storage Volume |
| Type of Construction |  |  |  |  |  |
| I FR, II FR, II-1hr, III-1hr | II-N, III-N, IV-HT, V-1hr | V-N | minutes | Gpm | Gallons 4, | Gpm 4, | Gallons 4, 5, 6 |
| 16,800 | 13,300 | 12,600 | 60 | 200 | 12,000 | 200 | 6,000 |
| 25,300 | 19,970 | 19,000 | 60 | 300 | 18,000 | 300 | 9,000 |
| 33,700 | 26,600 | 25,300 | 60 | 400 | 24,000 | 400 | 12,000 |
| 42,100 | 33,250 | 31,600 | 60 | 500 | 30,000 | 500 | 15,000 |
| 50,500 | 39,920 | 37,900 | 60 | 600 | 36,000 | 500 | 18,000 |
| 58,950 | 46,550 | 44,200 | 60 | 700 | 42,000 | 500 | 21,000 |
| 67,400 | 53,200 | 50,500 | 60 | 800 | 48,000 | 500 | 24,000 |
| 75,800 | 59,850 | 56,900 | 60 | 900 | 54,000 | 500 | 27,000 |
| 84,200 | 66,500 | 63,200 | 60 | 1,000 | 60,000 | 500 | 30,000 |
| 105,300 | 83,100 | 78,950 | 60 | 1,250 | 75,000 | 625 | 37,500 |
| 126,300 | 99,700 | 94,750 | 60 | 1,500 | 90,000 | 750 | 45,000 |
| 147,400 | 116,350 | 110,500 | 60 | 1,750 | 105,000 | 875 | 52,500 |
| 168,400 | 132,950 | 126,300 | 60 | 2,000 | 120,000 | 1,000 | 60,000 |
| 189,500 | 149,600 | 142,080 | 60 | 2,250 | 135,000 | 1,125 | 67,500 |
| 210,500 | 166,200 | 157,900 | 60 | 2,500 | 150,000 | 1,250 | 75,000 |
| 231,600 | 182,800 | 173,670 | 60 | 2,750 | 165,000 | 1,375 | 82,500 |
| 252,600 + | 199,450 | 189,500 | 60 | 3,000 | 180,000 | 1,500 | 90,000 |
|  | 216,050 | 205,250 | 60 | 3,250 | 195,000 | 1,625 | 97,500 |
|  | 232,700 | 221,050 | 60 | 3,500 | 210,000 | 1,750 | 105,000 |
|  | 249,300 | 236,850 | 60 | 3,750 | 225,000 | 1,875 | 112,500 |
|  | 265,900 | 252,600 | 60 | 4,000 | 240,000 | 2,000 | 120,000 |
|  | 282,550 | 268,450 | 60 | 4,250 | 255,000 | 2,125 | 127,500 |
|  | 299,200 | 284,200 | 60 | 4,500 | 270,000 | 2,250 | 135,000 |

15.32.806	Table B105.3 is added – Minimum fire flow.

Table B105.3 is added to Appendix B of the fire code to read as follows:

Table B105.3 Minimum Required Fire Flow, Flow Duration, and Storage Volume for Moderate Fire Hazard Occupancies including but not limited to Asylums, Hotels, Prisons, Saw Mills, Gas Stations, Lumber Yards, Warehousing of normal combustibles, Wineries and Welding Shops not served by a Public Water Supply.

| Fire Area Moderate Fire Hazard Occupancy | Fire Flow Duration | Automatic Fire Sprinkler Protection |
| --- | --- | --- |
|  |  | Non-sprinklered | Sprinklered |
|  |  | Fire Flow | Storage Volume | Fire Flow | Storage Volume |
| Type of Construction |  |  |  |  |  |
| I FR, II FR, II-1hr, III-1hr | II-N, III-N, IV-HT, V-1hr | V-N | minutes | Gpm | Gallons 4, | Gpm 4, | Gallons 4, 5, 6 |
| 11,200 | 8,850 | 8,400 | 60 | 200 | 12,000 | 200 | 6,000 |
| 16,850 | 13,300 | 12,650 | 60 | 300 | 18,000 | 300 | 9,000 |
| 22,450 | 17,750 | 16,850 | 60 | 400 | 24,000 | 400 | 12,000 |
| 28,050 | 22,150 | 21,050 | 60 | 500 | 30,000 | 500 | 15,000 |
| 33,700 | 26,600 | 25,250 | 60 | 600 | 36,000 | 500 | 18,000 |
| 39,300 | 31,040 | 29,480 | 60 | 700 | 42,000 | 500 | 21,000 |
| 44,900 | 35,450 | 33,700 | 60 | 800 | 48,000 | 500 | 24,000 |
| 50,500 | 39,900 | 37,900 | 60 | 900 | 54,000 | 500 | 27,000 |
| 56,150 | 44,300 | 42,100 | 60 | 1,000 | 60,000 | 500 | 30,000 |
| 70,150 | 55,400 | 52,650 | 60 | 1,250 | 75,000 | 625 | 37,500 |
| 84,200 | 66,500 | 63,150 | 60 | 1,500 | 90,000 | 750 | 45,000 |
| 98,250 | 77,550 | 73,700 | 60 | 1,750 | 105,000 | 875 | 52,500 |
| 112,300 | 88,650 | 84,200 | 60 | 2,000 | 120,000 | 1,000 | 60,000 |
| 126,300 | 99,740 | 94,750 | 60 | 2,250 | 135,000 | 1,125 | 67,500 |
| 140,350 | 110,800 | 105,250 | 60 | 2,500 | 150,000 | 1,250 | 75,000 |
| 154,400 | 121,900 | 115,800 | 60 | 2,750 | 165,000 | 1,375 | 82,500 |
| 168,400 + | 132,950 | 126,300 | 60 | 3,000 | 180,000 | 1,500 | 90,000 |
|  | 144,050 | 136,850 | 60 | 3,250 | 195,000 | 1,625 | 97,500 |
|  | 155,140 | 147,350 | 60 | 3,500 | 210,000 | 1,750 | 105,000 |
|  | 166,200 | 157,900 | 60 | 3,750 | 225,000 | 1,875 | 112,500 |
|  | 177,300 | 168,400 | 60 | 4,000 | 240,000 | 2,000 | 120,000 |
|  | 188,350 | 178,950 | 60 | 4,250 | 255,000 | 2,125 | 127,500 |
|  | 199,450 | 189,480 | 60 | 4,500 | 270,000 | 2,250 | 135,000 |

15.32.807	Table B105.4 is added – Minimum fire flow.

Table B105.4 is added to Appendix B of the fire code to read as follows:

Table B105.4.  Minimum Required Fire Flow, Flow Duration, and Storage Volume for High Fire Hazard Occupancies including but not limited to Aircraft Hangers, Chemical Works or Storage, Explosives Manufacturing, High Piled Combustible Storage, Flammable Liquids Storage, Paint Shops, Pesticide Manufacturing, Storage or Shipping, Warehouses of Combustible/Flammables and other occupancies involving processing, mixing, storage and dispensing flammable and or combustible liquids, not served by a Public Water Supply.

| Fire Area High Fire Hazard Occupancy | Fire Flow Duration | Automatic Fire Sprinkler Protection |
| --- | --- | --- |
|  |  | Non-sprinklered | Sprinklered |
|  |  | Fire Flow | Storage Volume | Fire Flow | Storage Volume |
| Type of Construction |  |  |  |  |  |
| I FR, II FR, II-1hr, III-1hr | II-N, III-N, IV-HT, V-1hr | V-N | minutes | Gpm | Gallons 4, | Gpm 4, | Gallons 4, 5, 6 |
| 5,600 | 4,430 | 4,200 | 120 | 200 | 24,000 | 200 | 12,000 |
| 8,430 | 6,650 | 6,320 | 120 | 300 | 36,000 | 300 | 18,000 |
| 11,230 | 8,860 | 8,430 | 120 | 400 | 48,000 | 400 | 24,000 |
| 14,030 | 11,070 | 10,520 | 120 | 500 | 60,000 | 500 | 30,000 |
| 16,830 | 13,300 | 12,630 | 120 | 600 | 72,000 | 500 | 36,000 |
| 19,650 | 15,510 | 14,740 | 120 | 700 | 84,000 | 500 | 42,000 |
| 22,470 | 17,730 | 16,850 | 120 | 800 | 96,000 | 500 | 48,000 |
| 25,270 | 19,950 | 18,950 | 120 | 900 | 108,000 | 500 | 54,000 |
| 28,070 | 22,170 | 21,050 | 120 | 1,000 | 120,000 | 500 | 60,000 |
| 35,100 | 27,700 | 26,320 | 120 | 1,250 | 150,000 | 625 | 75,000 |
| 42,100 | 33,250 | 31,580 | 120 | 1,500 | 180,000 | 750 | 90,000 |
| 49,130 | 38,790 | 36,850 | 120 | 1,750 | 210,000 | 875 | 105,000 |
| 56,150 | 44,330 | 42,100 | 120 | 2,000 | 240,000 | 1,000 | 120,000 |
| 63,150 | 49,860 | 47,360 | 120 | 2,250 | 270,000 | 1,125 | 135,000 |
| 70,180 | 55,400 | 52,630 | 120 | 2,500 | 300,000 | 1,250 | 150,000 |
| 77,200 | 60,950 | 57,900 | 120 | 2,750 | 330,000 | 1,375 | 165,000 |
| 84,200 + | 66,480 | 63,150 | 120 | 3,000 | 360,000 | 1,500 | 180,000 |
|  | 72,030 | 68,430 | 120 | 3,250 | 390,000 | 1,625 | 195,000 |
|  | 77,570 | 73,690 | 120 | 3,500 | 420,000 | 1,750 | 210,000 |
|  | 83,100 | 78,950 | 120 | 3,750 | 450,000 | 1,875 | 225,000 |
|  | 88,650 | 84,200 | 120 | 4,000 | 480,000 | 2,000 | 240,000 |

SECTION 10.	Chapter 15.34 (Building Conservation Code) of the Napa County Code is hereby repealed.

SECTION 11.	Chapter 15.35 (Existing Building Code) is added to the Napa County Code to read in full as follows:

Chapter 15.35

EXISTING BUILDING CODE

Sections:

15.34.010	Document adopted by reference.

15.34.010	Document adopted by reference.

The 2007 California Existing Building Code, hereinafter referred to as “existing building code,” which is based on the 2006 International Existing Building Code, adopted with modifications by the state of California as Title 24, Part 10 of the California Code of Regulations, is hereby adopted and made a part of this code by reference.

SECTION 12.	If any section, subsection, sentence, clause, phrase or word of this ordinance is for any reason held to be invalid by a court of competent jurisdiction, such decision shall not affect the validity of the remaining portions of this ordinance.  The Board of Supervisors of the County of Napa hereby declares it would have passed and adopted this ordinance and each and all provisions hereof irrespective of the fact that any one or more of said provisions be declared invalid.

SECTION 13.	This ordinance shall be effective thirty (30) days from and after the date of its passage.

SECTION 14.	A summary of this ordinance shall be published at least once 5 days before adoption and at least once before the expiration of 15 days after its passage in the Napa Valley Register, a newspaper of general circulation published in the County of Napa,

The foregoing ordinance was introduced and read at a regular meeting of the Board of Supervisors of the County of Napa, State of California, held on the ___ day of _______________, 2007, and passed at a regular meeting of the Board of Supervisors of the County of Napa, State of California, held on the ____  day of  _______________, 2007, by the following vote:

AYES:		SUPERVISORS

NOES:		SUPERVISORS

ABSTAIN:	SUPERVISORS

ABSENT:	SUPERVISORS

HAROLD MOSKOWITE, CHAIR

Napa County Board of Supervisors

ATTEST:  GLADYS I. COIL

Clerk of the Board of Supervisors

By:_____________________

APPROVED AS TO FORM

Office of County Counsel

By:  Robert C. Martin, by e-signature)

Deputy County Counsel

By:  Sue Ingalls (by e-signature)

County Code Services

Date: October 29, 2007

APPROVED BY THE NAPA COUNTY

BOARD OF SUPERVISORS

Date:   ________________________

Processed by:

______________________________

Deputy Clerk of the Board

# Footnotes

Fire area in sq. ft. (less than or equal to), for fire hazard occupancy types see Section A-III-A.5.2.1.

Approved automatic sprinkler protection throughout building in accordance with standards NFPA 13 or NFPA 13-R.

Types of construction based upon the Building Code.

Add 10% to fire flow and storage volume if separation between buildings is less than 20 feet.

Fire flow storage volume use shall be limited and dedicated to fire protection, see Section 903.3.1.

Fire flow and storage volume in sprinklered buildings is in addition to the water demand for the sprinkler system and in-lieu of outside hose stream demand allowance.

7 Fire area in sq. ft. (less than or equal to), for fire hazard occupancy types see Section A-III-A.5.2.1.

8 Approved automatic sprinkler protection throughout building in accordance with standards NFPA 13 or NFPA 13-R.

9 Types of construction based upon the Building Code.

10 Add 10% to fire flow and storage volume if separation between buildings is less than 20 feet.

11 Fire flow storage volume use shall be limited and dedicated to fire protection, see Section 903.3.1.

12 Fire flow and storage volume in sprinklered buildings is in addition to the water demand for the sprinkler system and in-lieu of outside hose stream demand allowance.

Fire area in sq. ft. (less than or equal to), for fire hazard occupancy types see Section A-III-A.5.2.1.

Approved automatic sprinkler protection throughout building in accordance with standards NFPA 13 or NFPA 13-R.

Types of construction based upon the Building Code.

Add 10% to fire flow and storage volume if separation between buildings is less than 20 feet.

Fire flow storage volume use shall be limited and dedicated to fire protection, see Section 903.3.1.

Fire flow and storage volume in sprinklered buildings is in addition to the water demand for the sprinkler system and in-lieu of outside hose stream demand allowance.