RESOLUTION NO. 07-155

A RESOLUTION OF THE BOARD OF SUPERVISORS OF THE COUNTY OF NAPA, STATE OF CALIFORNIA, ADOPTING FINDINGS OF FACT PERTAINING TO LOCAL MODIFICATIONS CONTAINED IN ADOPTION BY THE COUNTY OF NAPA OF THE 2007 EDITIONS OF THE CALIFORNIA BUILDING CODE; CALIFORNIA PLUMBING CODE; CALIFORNIA MECHANICAL CODE; CALIFORNIA ELECTRICAL CODE; AND THE CALIFORNIA FIRE CODE.

WHEREAS, in its review of the 2007 California Building Code, 2007 California Plumbing Code, the 2007 California Mechanical Code, the 2007 California Electrical Code, and the  2007 California Fire Code, as adopted and published in the State Building Standards Code pursuant to California Health and Safety Code section 17922, the Board of Supervisors of the County of Napa has determined that as part of the County’s adoption of the above codes or portions thereof certain local modifications are reasonably necessary because of local climatic, geological or topographical conditions; and

WHEREAS, California Health and Safety Code section 17958.7 requires that before making any modifications or changes to the requirements contained in the above-described state-approved codes this governing body must not only make express findings that such modifications or changes are reasonably necessary because of local climatic, geological or topographical conditions, but must also direct that such findings shall be made available as a public record and a copy of such findings, together with the modifications or changes expressly marked and identified to which each such finding refers, shall be filed with the State Building Standards Commission;

NOW, THEREFORE, BE IT RESOLVED by the Board of Supervisors of the County of Napa as follows:

1.	In connection with the enactment by this Board of its ordinance adopting the 2007 California Building Code, 2007 California Plumbing Code, the 2007 California Mechanical Code, the 2007 California Electrical Code, and the 2007 California Fire Code, the Board hereby finds that the local modifications or augmentations of such codes set forth in the adopting ordinance are hereby expressly found by this Board to relate either to non-substantive matters of grammatical construction (not described herein), to reflect or conform to local administrative practice, including practices pertaining to vested rights, are substantive modifications of state code standards which this Board hereby expressly finds, as required by California Health and Safety Code section 17958.7, to be reasonably necessary because of the local climatic, geologic or topographic conditions noted below, or are modifications to portions of the Uniform Fire Code which are not adopted by the State, are not a part of the California Building Standards Code, and do not require findings pursuant to California Health and Safety Code section 17958.7:

A.	Non-Substantive Modifications Relating to Local Administrative Practice:

1.	Board of Appeals:  For the efficient use of technical resources, a unified board of appeals is created (Napa County Code section 15.04.090) by the Board of Supervisors as the initial hearing body for all building code appeals.  To reflect this, conforming changes are made to, or in augmentation of the state codes by the following Napa County Code sections:  15.12.030, 15.20.040, 15.24.030, 15.28.030, 15.32.020.

2.	Definition of Enforcing Officials:  To reflect Napa County organizational structure, certain definitions in the state codes regarding code enforcement officials, reviewing officers, and jurisdictional entities are modified or expanded by the following Napa County Code sections:  15.04.020, 15.04.030, 15.04.040, 15.20.055(A), 15.28.040, and 15.32.040.

3.	Permits, Violations, Liability and Miscellaneous Administrative Matters:  To integrate with the overall administrative procedures of Napa County and the Napa County Code, miscellaneous administrative provisions in the state code pertaining to permits, violations, liability, and other matters not related to building standards are modified or augmented by the following Napa County Code sections: 15.04.060, 15.04.070, 15.04.080, 15.12.025, 15.20.055(B-H), 15.20.090, 15.28.040, 15.28.041, 15.28.042, 15.32.700, 15.32.750 and 15.32.790.

4.	Conforming Change to California Fire Code:  For the efficient use of applicant and staff resources, fire protection and life safety regulations enforced by the Fire Department are consolidated into Chapter 15.32 of the Napa County Code which incorporates with certain substantive and non-substantive modifications the provisions of the 2007 California Fire Code.  California Public Resources Code Section 4290 shall be used by the County for basic wildland fire protection.

B.	Substantive Local Modifications of State Code Standards

1.	Fire-Extinguishing and Detection Systems, Class A Roofs and Building Heights.  Minor modifications to the 2007 California Fire Code and the 2007 California Building Code pertaining to additional requirements for the installation of automatic fire-extinguishing systems and automatic fire alarm systems, Class A roofs, and Class 1 standpipes in structures of three or more stories have been made to deal with the local climatic, geologic or topographic conditions discussed below.  These local conditions reduce the effectiveness of local fire department fire suppression capability and make additional fire protection built into structures necessary to maintain a reasonable level of community fire protection.  It is necessary to increase local requirements for the installation of built-in fire-extinguishing systems in large buildings, pertaining to automatic fire-extinguishing systems.  The dry climate, limited natural water sources with long distances between water sources, and long fire department response distances found in Napa County severely reduces the available water supplies for fire protection and further make necessary the increased local requirements for the installation automatic fire-extinguishing systems which use a fraction of the water to contain a fire compared to manual fire suppression.  It is also necessary because of the rural nature of Napa County to increase the requirements of fire detection systems.  The installation of fire detection systems ensures prompt fire department notification and response to fire emergencies.

In additional to the above local conditions, the requirement of Class A Roofs for all homes is further justified because it would help make buildings more fire resistant and would slow the spread of wildfires. Finally, the requirement of Class 1 standpipes applying to homes of three or more stories is additionally justified in that it would enhance the water availability to fight fires in smaller buildings and increase the firefighter’s ability to combat such fires.

County Code Section 		Affected State Code Provision

15.12.290			California Building Code section 903.2

15.12.300			California Building Code section 903.4

15.12.310			California Building Code section 905.3.1

15.12.320			California Building Code section 1505.1.2

15.32.710			California Fire Code section 903.2

15.32.720			California Fire Code section 903.4

15.32.730			California Fire Code section 905.3.1

2.	Winery Cave Contents.  Neither the 2007 California Fire nor Building Codes make any requirements in winery caves for smoke removal, fire detection, or fire suppression (beyond portable fire extinguishers and garden hoses), regardless of the level of combustible contents.  While historic winery caves have had very limited fire and life safety problems, their contents have been essentially non-combustible.  Many winery caves in Napa County now include combustible contents and assembly use areas.  The topographic and geologic conditions, which make winery cave development possible in Napa County, typically necessitate that the wine cave tunnels are constructed without openings of sufficient size and number to vent smoke and heat from a fire.  The owners/operators of the caves then place combustible contents in tunnels beyond the reach of fire department hoses for manual fire suppression.  These conditions make the local requirements for fire and life safety reasonably necessary to maintain a safe and tenable environment for occupants and fire fighters in winery caves.

County Code Section 			Affected State Code Provision

15.12.180				California Building Code section 436.1

15.12.190				California Building Code section 436.4

15.12.200				California Building Code section 436.5

15.12.210				California Building Code section 436.7.3

15.12.220				California Building Code section 436.8.4

15.12.230				California Building Code section 436.8.5

15.12.240				California Building Code section 436.8.6

15.12.250				California Building Code section 436.8.7

15.12.260				California Building Code section 436.8.10

15.12.270				California Building Code section 436.11.3

15.12.280				California Building Code section 436.16

C.  Substantive and Non-Substantive Modifications Relating to the Model California Fire Code:

For the efficient use of applicant and staff resources, fire protection and life safety regulations enforced by the Fire Department are consolidated into Chapter 15.32 of the Napa County Code.  These consolidated Fire Department regulations include, as discussed in sections 1.A and 1.B above, certain substantive and non-substantive modifications the provisions of the 2007 California Fire Code.  These modifications, which are not subject to findings required under California Health and Safety Code section 17958.7 and are not described herein, are necessary to codify and consolidate standards previously required by Napa County Fire Protection Standards (Board of Supervisors Resolution 88-98), sections 1270 through 1276, Title 14, of the California Code of Regulations, and Napa County Conservation-Development and Planning Commission project mitigation  measures and conditions-of-approval.

2.	The original of this Resolution is a public record which shall be maintained on file with the Clerk of the Board of Supervisors and available for public inspection during reasonable business hours

3.	A copy of this Resolution shall be filed along with the adopted ordinance with the State Building Standards Commission.

THE FOREGOING RESOLUTION was read, considered, and approved at a regular meeting of the Board of Supervisors on the 6th day of November, 2007, by the following vote:

AYES:		SUPERVISORS	WAGENKNECHT, LUCE and MOSKOWITE

NOES:		SUPERVISORS	NONE

ABSENT:	SUPERVISORS	DODD and DILLON

__________________________________

HAROLD MOSKOWITE, Chair

ATTEST: GLADYS I. COIL		Napa County Board of Supervisors

Clerk of the Board of Supervisors

APPROVED BY THE NAPA COUNTY

BOARD OF SUPERVISORS

Date:  November  6, 2007

Processed by:

______________________________

Deputy Clerk of the Board

APPROVED AS TO FORM

Office of County Counsel

By: Robert C. Martin(by e-signature)

Date:   October 29, 2007

By:_____________________