MANAGER'S REPORT.
Discussion and Possible Action Item:  Manager will report on activities related to the Authority.

Background

Manager will report on activities related to the Authority over the last month including but not limited to the following items;

Delvin Road Transfer Station

We have a few remaining issues with the transition of operators at DRTS.  They’re the haul truck entrance doors replacement, waste pumps replacement, and the compensation for ware on the tipping floor.  HDR/BVA is investigating how best to resolve these remaining issues.  Also a few minor billing issues are being address.

American Canyon Sanitary Landfill

The levels of landfill gas at our off site wells has been returned to non-detect.  There is now some speculation that it might not have been landfill gas but swamp gas from the adjacent wetlands.  If the gas reappears we will sample for a determination of origin.  In an effort to reduce leachate levels and increase gas production, we have instituted a leachate pump preventative maintenance program.  Permanent electrical power is still in the P.G. &E. queue.

Oat Hill Quarry

No report.

Microturbine Project

Some minor work remains but testing has begun.  We are hoping to bring the turbines on-line during the month of November when the existing energy project is partial shutdown of maintenance.  Gas production should be sufficient to supply both projects during the wet season.

SWANA Wastecon

The Annual SWANA Conference is scheduled for October 15-18 in Reno.